## 45 kPa 1500ms tr1
Viewer version | 2.91
Measure start time | Monday, March 24, 2025 2:08:59 PM
Type of measurement | Flow [Linearized]
Sampling interval [ms] | 80
Timing information | Relative
Article code | SLI-2000
Serial Number | 215100075
COM HW Type | RS485/USB Sensor Cable
COM HW Config | Config String: COM4, 115200, ECHOOFF
Sensor Cable Version | 1.8
I2C Address | 64
Scale Factor | 5
Resolution (bit) | 16
Calibration Field | 0
Sample # | Relative Time[s] | Flow [ul/min] | Relative Time[s]
14325 | 1146.2091 | -4.2 | 0
14326 | 1146.289 | -4 | 0.0799
14327 | 1146.3849 | -3.6 | 0.1758
14328 | 1146.4493 | -4 | 0.2402
14329 | 1146.5451 | -4.8 | 0.336
14330 | 1146.6088 | -3.8 | 0.3997
14331 | 1146.7049 | -3.8 | 0.4958
14332 | 1146.7685 | -3.4 | 0.5594
14333 | 1146.8647 | -4 | 0.6556
14334 | 1146.9601 | -3.6 | 0.751
14335 | 1147.0246 | -4.2 | 0.8155
14336 | 1147.0884 | -3.8 | 0.8793
14337 | 1147.1844 | -4.2 | 0.9753
14338 | 1147.2801 | -3.6 | 1.071
14339 | 1147.3437 | -4.4 | 1.1346
14340 | 1147.4076 | -3.6 | 1.1985
14341 | 1147.504 | -4.6 | 1.2949
14342 | 1147.5997 | -4 | 1.3906
14343 | 1147.6632 | -3 | 1.4541
14344 | 1147.7591 | -3.6 | 1.55
14345 | 1147.823 | -4.6 | 1.6139
14346 | 1147.9189 | -5 | 1.7098
14347 | 1147.9827 | -5.2 | 1.7736
14348 | 1148.0792 | -3.8 | 1.8701
14349 | 1148.1427 | -2.6 | 1.9336
14350 | 1148.2385 | -3.8 | 2.0294
14351 | 1148.3024 | -4 | 2.0933
14352 | 1148.3986 | -4.2 | 2.1895
14353 | 1148.4621 | -4.2 | 2.253
14354 | 1148.558 | -4.4 | 2.3489
14355 | 1148.6219 | -3.8 | 2.4128
14356 | 1148.7183 | -4.2 | 2.5092
14357 | 1148.7817 | -3.8 | 2.5726
14358 | 1148.8776 | -4.2 | 2.6685
14359 | 1148.9415 | -3.6 | 2.7324
14360 | 1149.0374 | -3.4 | 2.8283
14361 | 1149.1013 | -3.8 | 2.8922
14362 | 1149.1976 | -4.6 | 2.9885
14363 | 1149.2611 | -4.8 | 3.052
14364 | 1149.357 | -3.2 | 3.1479
14365 | 1149.4208 | -2.8 | 3.2117
14366 | 1149.5167 | 22.2 | 3.3076
14367 | 1149.5811 | 28.4 | 3.372
14368 | 1149.6765 | 9.6 | 3.4674
14369 | 1149.7404 | 4.4 | 3.5313
14370 | 1149.8367 | 2.6 | 3.6276
14371 | 1149.9008 | 1.4 | 3.6917
14372 | 1149.996 | -0.4 | 3.7869
14373 | 1150.06 | -1.4 | 3.8509
14374 | 1150.1561 | -2.2 | 3.947
14375 | 1150.2197 | -2.2 | 4.0106
14376 | 1150.2996 | -1.6 | 4.0905
14377 | 1150.3955 | -1.8 | 4.1864
14378 | 1150.4594 | -1 | 4.2503
14379 | 1150.5553 | -2.4 | 4.3462
14380 | 1150.6196 | -2.6 | 4.4105
14381 | 1150.6996 | -3 | 4.4905
14382 | 1150.7791 | -3.2 | 4.57
14383 | 1150.8593 | -2.8 | 4.6502
14384 | 1150.9396 | -2.6 | 4.7305
14385 | 1151.0187 | 35.8 | 4.8096
14386 | 1151.0995 | 174.8 | 4.8904
14387 | 1151.1786 | 42.6 | 4.9695
14388 | 1151.2588 | 21.4 | 5.0497
14389 | 1151.339 | 14.6 | 5.1299
14390 | 1151.4186 | 8 | 5.2095
14391 | 1151.5301 | 4.2 | 5.321
14392 | 1151.6103 | 3.6 | 5.4012
14393 | 1151.6902 | 1.8 | 5.4811
14394 | 1151.7701 | -1 | 5.561
14395 | 1151.8501 | -1.4 | 5.641
14396 | 1151.9297 | -1.8 | 5.7206
14397 | 1152.0098 | -1.8 | 5.8007
14398 | 1152.1053 | -2.4 | 5.8962
14399 | 1152.154 | -3 | 5.9449
14400 | 1152.2494 | -2.8 | 6.0403
14401 | 1152.3454 | -2.6 | 6.1363
14402 | 1152.393 | -3.6 | 6.1839
14403 | 1152.4887 | -3.4 | 6.2796
14404 | 1152.5843 | 33.4 | 6.3752
14405 | 1152.6322 | 13 | 6.4231
14406 | 1152.7279 | 4 | 6.5188
14407 | 1152.8234 | 2.6 | 6.6143
14408 | 1152.8715 | -0.6 | 6.6624
14409 | 1152.967 | -1.4 | 6.7579
14410 | 1153.0625 | -1.8 | 6.8534
14411 | 1153.1103 | -2 | 6.9012
14412 | 1153.2064 | -3.2 | 6.9973
14413 | 1153.3019 | -3.2 | 7.0928
14414 | 1153.3496 | -3 | 7.1405
14415 | 1153.4457 | -3.6 | 7.2366
14416 | 1153.5251 | -4.8 | 7.316
14417 | 1153.6211 | -4.8 | 7.412
14418 | 1153.669 | -4 | 7.4599
14419 | 1153.7643 | -4.2 | 7.5552
14420 | 1153.8606 | -4.2 | 7.6515
14421 | 1153.9082 | -5.6 | 7.6991
14422 | 1154.0037 | -4.4 | 7.7946
14423 | 1154.0992 | -122.2 | 7.8901
14424 | 1154.1471 | -46.4 | 7.938
14425 | 1154.2433 | -23.8 | 8.0342
14426 | 1154.3385 | -17.8 | 8.1294
14427 | 1154.3867 | -14.4 | 8.1776
14428 | 1154.4821 | -12.2 | 8.273
14429 | 1154.5777 | -10.4 | 8.3686
14430 | 1154.6256 | -9.6 | 8.4165
14431 | 1154.7216 | -8.2 | 8.5125
14432 | 1154.8169 | -8.4 | 8.6078
14433 | 1154.8649 | -7.6 | 8.6558
14434 | 1154.9607 | -7.6 | 8.7516
14435 | 1155.0562 | -7.6 | 8.8471
14436 | 1155.1042 | -7.4 | 8.8951
14437 | 1155.1997 | -6.4 | 8.9906
14438 | 1155.2962 | -6.6 | 9.0871
14439 | 1155.3433 | -6.2 | 9.1342
14440 | 1155.4394 | -6.2 | 9.2303
14441 | 1155.5347 | -9.6 | 9.3256
14442 | 1155.5825 | -35 | 9.3734
14443 | 1155.6782 | -14.4 | 9.4691
14444 | 1155.774 | -10.4 | 9.5649
14445 | 1155.8703 | -9.6 | 9.6612
14446 | 1155.9175 | -9 | 9.7084
14447 | 1156.0132 | -7 | 9.8041
14448 | 1156.1089 | -7.4 | 9.8998
14449 | 1156.1567 | -6.8 | 9.9476
14450 | 1156.2525 | -7 | 10.0434
14451 | 1156.348 | -6.2 | 10.1389
14452 | 1156.396 | -6.4 | 10.1869
14453 | 1156.4916 | -6.4 | 10.2825
14454 | 1156.5873 | -7 | 10.3782
14455 | 1156.6359 | -7 | 10.4268
14456 | 1156.7321 | -6.2 | 10.523
14457 | 1156.8268 | -5.6 | 10.6177
14458 | 1156.8747 | -6.6 | 10.6656
14459 | 1156.9701 | -5.2 | 10.761
14460 | 1157.0661 | -5.4 | 10.857
14461 | 1157.1141 | 45 | 10.905
14462 | 1157.2095 | 11 | 11.0004
14463 | 1157.3051 | 3.6 | 11.096
14464 | 1157.3531 | 1.4 | 11.144
14465 | 1157.4488 | 0.8 | 11.2397
14466 | 1157.5444 | -0.4 | 11.3353
14467 | 1157.593 | -1.2 | 11.3839
14468 | 1157.6879 | -3.4 | 11.4788
14469 | 1157.784 | -2.6 | 11.5749
14470 | 1157.8317 | -3.2 | 11.6226
14471 | 1157.9272 | -3 | 11.7181
14472 | 1158.0232 | -2.6 | 11.8141
14473 | 1158.0706 | -3 | 11.8615
14474 | 1158.1669 | -3.4 | 11.9578
14475 | 1158.2625 | -3.8 | 12.0534
14476 | 1158.3099 | -2.6 | 12.1008
14477 | 1158.4056 | -3.8 | 12.1965
14478 | 1158.5017 | -3 | 12.2926
14479 | 1158.5495 | -2.4 | 12.3404
14480 | 1158.6449 | 150 | 12.4358
14481 | 1158.7406 | 78 | 12.5315
14482 | 1158.7883 | 29.8 | 12.5792
14483 | 1158.8845 | 17.2 | 12.6754
14484 | 1158.9802 | 10.8 | 12.7711
14485 | 1159.0282 | 6.6 | 12.8191
14486 | 1159.1238 | 4 | 12.9147
14487 | 1159.2197 | 2 | 13.0106
14488 | 1159.2673 | 1 | 13.0582
14489 | 1159.3626 | -1 | 13.1535
14490 | 1159.4583 | -1.8 | 13.2492
14491 | 1159.5065 | -2.4 | 13.2974
14492 | 1159.6022 | -2 | 13.3931
14493 | 1159.698 | -3.2 | 13.4889
14494 | 1159.7457 | -2.4 | 13.5366
14495 | 1159.8416 | -2.8 | 13.6325
14496 | 1159.9372 | -2.6 | 13.7281
14497 | 1159.9849 | -3.6 | 13.7758
14498 | 1160.081 | 2 | 13.8719
14499 | 1160.1761 | 31.4 | 13.967
14500 | 1160.224 | 7.6 | 14.0149
14501 | 1160.3199 | 2 | 14.1108
14502 | 1160.4157 | 0.6 | 14.2066
14503 | 1160.4632 | -1.2 | 14.2541
14504 | 1160.5589 | -3 | 14.3498
14505 | 1160.6546 | -3 | 14.4455
14506 | 1160.7027 | -3.4 | 14.4936
14507 | 1160.7981 | -5.2 | 14.589
14508 | 1160.8943 | -3.6 | 14.6852
14509 | 1160.9417 | -3.8 | 14.7326
14510 | 1161.0377 | -3.8 | 14.8286
14511 | 1161.1335 | -4 | 14.9244
14512 | 1161.181 | -4.4 | 14.9719
14513 | 1161.2769 | -5 | 15.0678
14514 | 1161.3723 | -4 | 15.1632
14515 | 1161.4207 | -4.8 | 15.2116
14516 | 1161.5161 | -4.8 | 15.307
14517 | 1161.6116 | -24.6 | 15.4025
14518 | 1161.6594 | -107.8 | 15.4503
14519 | 1161.755 | -31 | 15.5459
14520 | 1161.8508 | -21.2 | 15.6417
14521 | 1161.8988 | -15.6 | 15.6897
14522 | 1161.9946 | -13.8 | 15.7855
14523 | 1162.0899 | -11.8 | 15.8808
14524 | 1162.1382 | -11 | 15.9291
14525 | 1162.2338 | -9.6 | 16.0247
14526 | 1162.3299 | -8.8 | 16.1208
14527 | 1162.3779 | -8.2 | 16.1688
14528 | 1162.4739 | -8.4 | 16.2648
14529 | 1162.5701 | -7.8 | 16.361
14530 | 1162.6178 | -8.2 | 16.4087
14531 | 1162.7138 | -8 | 16.5047
14532 | 1162.8098 | -6.6 | 16.6007
14533 | 1162.8582 | -8.2 | 16.6491
14534 | 1162.9539 | -6.4 | 16.7448
14535 | 1163.05 | -6.8 | 16.8409
14536 | 1163.0973 | -34 | 16.8882
14537 | 1163.1933 | -21.2 | 16.9842
14538 | 1163.2896 | -12.6 | 17.0805
14539 | 1163.3852 | -10.2 | 17.1761
14540 | 1163.4332 | -8.8 | 17.2241
14541 | 1163.5295 | -8.4 | 17.3204
14542 | 1163.6257 | -7.6 | 17.4166
14543 | 1163.6735 | -8.6 | 17.4644
14544 | 1163.7691 | -6.4 | 17.56
14545 | 1163.865 | -6.8 | 17.6559
14546 | 1163.9135 | -6.6 | 17.7044
14547 | 1164.0093 | -6.6 | 17.8002
14548 | 1164.105 | -5.6 | 17.8959
14549 | 1164.1533 | -6.2 | 17.9442
14550 | 1164.2494 | -6.2 | 18.0403
14551 | 1164.345 | -7.4 | 18.1359
14552 | 1164.3936 | -7.2 | 18.1845
14553 | 1164.4892 | -5.6 | 18.2801
14554 | 1164.5851 | -7.2 | 18.376
14555 | 1164.6333 | 12.4 | 18.4242
14556 | 1164.7289 | 24.6 | 18.5198
14557 | 1164.8249 | 6.2 | 18.6158
14558 | 1164.8728 | 2.4 | 18.6637
14559 | 1164.9688 | 1 | 18.7597
14560 | 1165.0648 | -0.6 | 18.8557
14561 | 1165.1127 | -2.4 | 18.9036
14562 | 1165.2087 | -1.6 | 18.9996
14563 | 1165.305 | -2.2 | 19.0959
14564 | 1165.353 | -2 | 19.1439
14565 | 1165.4487 | -3 | 19.2396
14566 | 1165.545 | -3.8 | 19.3359
14567 | 1165.5926 | -2.8 | 19.3835
14568 | 1165.6886 | -3.2 | 19.4795
14569 | 1165.7849 | -3.2 | 19.5758
14570 | 1165.8329 | -4.2 | 19.6238
14571 | 1165.9289 | -3.4 | 19.7198
14572 | 1166.0252 | -4.2 | 19.8161
14573 | 1166.0729 | -2.8 | 19.8638
14574 | 1166.1688 | 21.8 | 19.9597
14575 | 1166.2647 | 181.6 | 20.0556
14576 | 1166.3127 | 48 | 20.1036
14577 | 1166.4085 | 23.2 | 20.1994
14578 | 1166.5047 | 15 | 20.2956
14579 | 1166.5527 | 8.2 | 20.3436
14580 | 1166.6483 | 6 | 20.4392
14581 | 1166.7442 | 3.4 | 20.5351
14582 | 1166.7925 | 1.4 | 20.5834
14583 | 1166.8886 | 0.6 | 20.6795
14584 | 1166.9842 | -0.6 | 20.7751
14585 | 1167.0322 | -1.4 | 20.8231
14586 | 1167.1282 | -1.8 | 20.9191
14587 | 1167.2241 | -3.8 | 21.015
14588 | 1167.2721 | -3.2 | 21.063
14589 | 1167.3685 | -4 | 21.1594
14590 | 1167.4641 | -4.8 | 21.255
14591 | 1167.5121 | -3.4 | 21.303
14592 | 1167.6085 | -4 | 21.3994
14593 | 1167.7042 | 32.8 | 21.4951
14594 | 1167.7522 | 14.2 | 21.5431
14595 | 1167.8483 | 3.8 | 21.6392
14596 | 1167.9447 | 0.4 | 21.7356
14597 | 1167.9923 | -1.4 | 21.7832
14598 | 1168.0881 | -3.2 | 21.879
14599 | 1168.1839 | -2.8 | 21.9748
14600 | 1168.2319 | -3.2 | 22.0228
14601 | 1168.3118 | -4.6 | 22.1027
14602 | 1168.4078 | -4 | 22.1987
14603 | 1168.5043 | -4 | 22.2952
14604 | 1168.5518 | -4.6 | 22.3427
14605 | 1168.6478 | -4.8 | 22.4387
14606 | 1168.7437 | -4.2 | 22.5346
14607 | 1168.7918 | -4.6 | 22.5827
14608 | 1168.8877 | -5 | 22.6786
14609 | 1168.9842 | -5.4 | 22.7751
14610 | 1169.0317 | -5.4 | 22.8226
14611 | 1169.1277 | -4 | 22.9186
14612 | 1169.2236 | -116 | 23.0145
14613 | 1169.2719 | -50.4 | 23.0628
14614 | 1169.3681 | -25.8 | 23.159
14615 | 1169.4635 | -19.2 | 23.2544
14616 | 1169.5117 | -15.8 | 23.3026
14617 | 1169.6075 | -12.2 | 23.3984
14618 | 1169.7038 | -11.2 | 23.4947
14619 | 1169.7519 | -11.8 | 23.5428
14620 | 1169.8476 | -9.2 | 23.6385
14621 | 1169.9433 | -8.8 | 23.7342
14622 | 1170.0395 | -8.2 | 23.8304
14623 | 1170.0874 | -9.4 | 23.8783
14624 | 1170.1837 | -8.8 | 23.9746
14625 | 1170.2793 | -7.6 | 24.0702
14626 | 1170.3274 | -7.4 | 24.1183
14627 | 1170.4077 | -7.8 | 24.1986
14628 | 1170.4712 | -7.2 | 24.2621
14629 | 1170.5838 | -7 | 24.3747
14630 | 1170.6792 | -8 | 24.4701
14631 | 1170.7274 | -39.6 | 24.5183
14632 | 1170.8232 | -16.2 | 24.6141
14633 | 1170.9191 | -11.6 | 24.71
14634 | 1170.9671 | -10.2 | 24.758
14635 | 1171.0634 | -8.6 | 24.8543
14636 | 1171.1591 | -8.2 | 24.95
14637 | 1171.2073 | -9 | 24.9982
14638 | 1171.3034 | -7.8 | 25.0943
14639 | 1171.3997 | -8 | 25.1906
14640 | 1171.4472 | -6.4 | 25.2381
14641 | 1171.5434 | -7 | 25.3343
14642 | 1171.6389 | -7.2 | 25.4298
14643 | 1171.6873 | -7.2 | 25.4782
14644 | 1171.7829 | -7 | 25.5738
14645 | 1171.8792 | -6.4 | 25.6701
14646 | 1171.9274 | -8 | 25.7183
14647 | 1171.9912 | -7 | 25.7821
14648 | 1172.0872 | -5.6 | 25.8781
14649 | 1172.1507 | -6.4 | 25.9416
14650 | 1172.2467 | 43.4 | 26.0376
14651 | 1172.3114 | 11.4 | 26.1023
14652 | 1172.4068 | 4 | 26.1977
14653 | 1172.4706 | 1.4 | 26.2615
14654 | 1172.5504 | 0 | 26.3413
14655 | 1172.6457 | -0.2 | 26.4366
14656 | 1172.7102 | -1.2 | 26.5011
14657 | 1172.8056 | -2 | 26.5965
14658 | 1172.8691 | -2.8 | 26.66
14659 | 1172.9652 | -3.6 | 26.7561
14660 | 1173.0287 | -3.4 | 26.8196
14661 | 1173.1247 | -2.6 | 26.9156
14662 | 1173.1886 | -3.4 | 26.9795
14663 | 1173.2843 | -3.4 | 27.0752
14664 | 1173.3477 | -2 | 27.1386
14665 | 1173.4434 | -2.4 | 27.2343
14666 | 1173.5077 | -3.6 | 27.2986
14667 | 1173.5874 | -2.4 | 27.3783
14668 | 1173.6835 | -4.4 | 27.4744
14669 | 1173.7465 | 129.4 | 27.5374
14670 | 1173.8427 | 93.8 | 27.6336
14671 | 1173.9065 | 32.4 | 27.6974
14672 | 1174.0019 | 17.6 | 27.7928
14673 | 1174.0658 | 11.8 | 27.8567
14674 | 1174.1614 | 6.6 | 27.9523
14675 | 1174.2258 | 3.6 | 28.0167
14676 | 1174.321 | 1.2 | 28.1119
14677 | 1174.3848 | -0.2 | 28.1757
14678 | 1174.4805 | -0.8 | 28.2714
14679 | 1174.5443 | -1.6 | 28.3352
14680 | 1174.6405 | -1.6 | 28.4314
14681 | 1174.7363 | -2.2 | 28.5272
14682 | 1174.8 | -2.8 | 28.5909
14683 | 1174.8954 | -4.4 | 28.6863
14684 | 1174.9599 | -3.6 | 28.7508
14685 | 1175.0553 | -5.2 | 28.8462
14686 | 1175.1351 | -3.4 | 28.926
14687 | 1175.2152 | -0.6 | 29.0061
14688 | 1175.2943 | 37.2 | 29.0852
14689 | 1175.3585 | 7.8 | 29.1494
14690 | 1175.4542 | 1.6 | 29.2451
14691 | 1175.5335 | -0.6 | 29.3244
14692 | 1175.6134 | -1.6 | 29.4043
14693 | 1175.6939 | -3.6 | 29.4848
14694 | 1175.7733 | -2.8 | 29.5642
14695 | 1175.8532 | -3.6 | 29.6441
14696 | 1175.9485 | -5 | 29.7394
14697 | 1176.0286 | -4.6 | 29.8195
14698 | 1176.1084 | -5.2 | 29.8993
14699 | 1176.1563 | -5.6 | 29.9472
14700 | 1176.2357 | -5.2 | 30.0266
14701 | 1176.3159 | -5.6 | 30.1068
14702 | 1176.3953 | -5.6 | 30.1862
14703 | 1176.4754 | -6.4 | 30.2663
14704 | 1176.5715 | -4.4 | 30.3624
14705 | 1176.6506 | -6 | 30.4415
14706 | 1176.7463 | -18.4 | 30.5372
14707 | 1176.7942 | -112 | 30.5851
14708 | 1176.8899 | -31.8 | 30.6808
14709 | 1176.9855 | -21.4 | 30.7764
14710 | 1177.034 | -17.4 | 30.8249
14711 | 1177.1296 | -14.4 | 30.9205
14712 | 1177.2253 | -11.6 | 31.0162
14713 | 1177.321 | -12 | 31.1119
14714 | 1177.3687 | -10.4 | 31.1596
14715 | 1177.4643 | -9.2 | 31.2552
14716 | 1177.5603 | -9.6 | 31.3512
14717 | 1177.6084 | -8.6 | 31.3993
14718 | 1177.7036 | -8.8 | 31.4945
14719 | 1177.8 | -7.6 | 31.5909
14720 | 1177.8472 | -7 | 31.6381
14721 | 1177.943 | -7.6 | 31.7339
14722 | 1178.0387 | -8.6 | 31.8296
14723 | 1178.087 | -8 | 31.8779
14724 | 1178.1822 | -7.6 | 31.9731
14725 | 1178.2781 | -35 | 32.069
14726 | 1178.3261 | -22 | 32.117
14727 | 1178.4219 | -14.6 | 32.2128
14728 | 1178.5172 | -12.4 | 32.3081
14729 | 1178.5651 | -9.6 | 32.356
14730 | 1178.6609 | -8.8 | 32.4518
14731 | 1178.741 | -9 | 32.5319
14732 | 1178.8364 | -8.4 | 32.6273
14733 | 1178.8846 | -8.6 | 32.6755
14734 | 1178.98 | -6.6 | 32.7709
14735 | 1179.0758 | -6.8 | 32.8667
14736 | 1179.1243 | -7.6 | 32.9152
14737 | 1179.2033 | -6.8 | 32.9942
14738 | 1179.2837 | -6.4 | 33.0746
14739 | 1179.3789 | -7.2 | 33.1698
14740 | 1179.4427 | -7 | 33.2336
14741 | 1179.5385 | -6.2 | 33.3294
14742 | 1179.6186 | -5.6 | 33.4095
14743 | 1179.6821 | -6.8 | 33.473
14744 | 1179.7462 | 17 | 33.5371
14745 | 1179.8416 | 23.2 | 33.6325
14746 | 1179.9054 | 5.4 | 33.6963
14747 | 1180.0178 | 1 | 33.8087
14748 | 1180.0969 | 0.4 | 33.8878
14749 | 1180.1926 | -1.6 | 33.9835
14750 | 1180.2405 | -2.6 | 34.0314
14751 | 1180.3362 | -1 | 34.1271
14752 | 1180.4161 | -2.2 | 34.207
14753 | 1180.4798 | -3.2 | 34.2707
14754 | 1180.5436 | -3.2 | 34.3345
14755 | 1180.6393 | -3.8 | 34.4302
14756 | 1180.7192 | -3.2 | 34.5101
14757 | 1180.7829 | -3.2 | 34.5738
14758 | 1180.8787 | -3 | 34.6696
14759 | 1180.9425 | -4.4 | 34.7334
14760 | 1181.0382 | -3.2 | 34.8291
14761 | 1181.102 | -3.8 | 34.8929
14762 | 1181.1977 | -3.8 | 34.9886
14763 | 1181.2616 | 30 | 35.0525
14764 | 1181.3574 | 175.2 | 35.1483
14765 | 1181.4212 | 44.2 | 35.2121
14766 | 1181.5168 | 24 | 35.3077
14767 | 1181.5806 | 13.6 | 35.3715
14768 | 1181.6764 | 9 | 35.4673
14769 | 1181.7402 | 4 | 35.5311
14770 | 1181.8686 | 3.6 | 35.6595
14771 | 1181.9165 | 0.4 | 35.7074
14772 | 1182.0119 | -1.2 | 35.8028
14773 | 1182.108 | -0.2 | 35.8989
14774 | 1182.1555 | -2.4 | 35.9464
14775 | 1182.2508 | -2.8 | 36.0417
14776 | 1182.3466 | -3.4 | 36.1375
14777 | 1182.3952 | -3.2 | 36.1861
14778 | 1182.4907 | -2.8 | 36.2816
14779 | 1182.5862 | -4.4 | 36.3771
14780 | 1182.6341 | -4 | 36.425
14781 | 1182.7299 | -5.2 | 36.5208
14782 | 1182.8261 | 34.2 | 36.617
14783 | 1182.8737 | 14.4 | 36.6646
14784 | 1182.9699 | 3.6 | 36.7608
14785 | 1183.0659 | 1.4 | 36.8568
14786 | 1183.1138 | 0.6 | 36.9047
14787 | 1183.2092 | -2.6 | 37.0001
14788 | 1183.3053 | -3.2 | 37.0962
14789 | 1183.3532 | -4 | 37.1441
14790 | 1183.4487 | -3.4 | 37.2396
14791 | 1183.5445 | -4.4 | 37.3354
14792 | 1183.5927 | -5.6 | 37.3836
14793 | 1183.6886 | -5 | 37.4795
14794 | 1183.784 | -4.6 | 37.5749
14795 | 1183.8798 | -5.6 | 37.6707
14796 | 1183.9117 | -5.4 | 37.7026
14797 | 1184.0241 | -5 | 37.815
14798 | 1184.1195 | -6 | 37.9104
14799 | 1184.1676 | -5.4 | 37.9585
14800 | 1184.2632 | -4 | 38.0541
14801 | 1184.3591 | -109.4 | 38.15
14802 | 1184.4069 | -46.4 | 38.1978
14803 | 1184.5028 | -25.2 | 38.2937
14804 | 1184.5989 | -18.4 | 38.3898
14805 | 1184.6465 | -15 | 38.4374
14806 | 1184.7424 | -12.6 | 38.5333
14807 | 1184.8382 | -11 | 38.6291
14808 | 1184.8861 | -10.2 | 38.677
14809 | 1184.9822 | -10.4 | 38.7731
14810 | 1185.078 | -9 | 38.8689
14811 | 1185.1258 | -8.4 | 38.9167
14812 | 1185.2214 | -8.4 | 39.0123
14813 | 1185.3176 | -8.2 | 39.1085
14814 | 1185.3653 | -6.8 | 39.1562
14815 | 1185.4611 | -8 | 39.252
14816 | 1185.5569 | -8.4 | 39.3478
14817 | 1185.6049 | -6.8 | 39.3958
14818 | 1185.7013 | -7 | 39.4922
14819 | 1185.7969 | -8 | 39.5878
14820 | 1185.8443 | -40.4 | 39.6352
14821 | 1185.9406 | -16 | 39.7315
14822 | 1186.0364 | -13.2 | 39.8273
14823 | 1186.0844 | -10.4 | 39.8753
14824 | 1186.1802 | -8.8 | 39.9711
14825 | 1186.2756 | -8.8 | 40.0665
14826 | 1186.3235 | -9.4 | 40.1144
14827 | 1186.4193 | -8.6 | 40.2102
14828 | 1186.5152 | -7.8 | 40.3061
14829 | 1186.5635 | -6.2 | 40.3544
14830 | 1186.6596 | -7.2 | 40.4505
14831 | 1186.7552 | -7.6 | 40.5461
14832 | 1186.803 | -7.2 | 40.5939
14833 | 1186.8989 | -6.8 | 40.6898
14834 | 1186.9944 | -7.8 | 40.7853
14835 | 1187.0424 | -7.2 | 40.8333
14836 | 1187.138 | -6.6 | 40.9289
14837 | 1187.2019 | -6.4 | 40.9928
14838 | 1187.2658 | -5.8 | 41.0567
14839 | 1187.3781 | 43 | 41.169
14840 | 1187.474 | 11.2 | 41.2649
14841 | 1187.5214 | 4 | 41.3123
14842 | 1187.6175 | 0.2 | 41.4084
14843 | 1187.7131 | -0.2 | 41.504
14844 | 1187.7609 | 0 | 41.5518
14845 | 1187.8567 | -2.4 | 41.6476
14846 | 1187.953 | -2 | 41.7439
14847 | 1188.0011 | -2.8 | 41.792
14848 | 1188.0963 | -2.8 | 41.8872
14849 | 1188.1923 | -3.6 | 41.9832
14850 | 1188.24 | -2 | 42.0309
14851 | 1188.3359 | -3.2 | 42.1268
14852 | 1188.4317 | -3.4 | 42.2226
14853 | 1188.4796 | -2.8 | 42.2705
14854 | 1188.5755 | -3.2 | 42.3664
14855 | 1188.6713 | -4.4 | 42.4622
14856 | 1188.7192 | -3 | 42.5101
14857 | 1188.8154 | -3.4 | 42.6063
14858 | 1188.9113 | 139 | 42.7022
14859 | 1188.9593 | 87.8 | 42.7502
14860 | 1189.0554 | 31.6 | 42.8463
14861 | 1189.1508 | 17.2 | 42.9417
14862 | 1189.1987 | 11.4 | 42.9896
14863 | 1189.2946 | 6.2 | 43.0855
14864 | 1189.39 | 3.2 | 43.1809
14865 | 1189.4385 | 1.4 | 43.2294
14866 | 1189.5338 | -0.4 | 43.3247
14867 | 1189.6302 | -0.4 | 43.4211
14868 | 1189.6779 | -2.2 | 43.4688
14869 | 1189.7737 | -2.2 | 43.5646
14870 | 1189.8692 | -2.8 | 43.6601
14871 | 1189.9171 | -3.4 | 43.708
14872 | 1190.0129 | -3.4 | 43.8038
14873 | 1190.1088 | -4 | 43.8997
14874 | 1190.1567 | -4 | 43.9476
14875 | 1190.2524 | -3.8 | 44.0433
14876 | 1190.3483 | 2.6 | 44.1392
14877 | 1190.4441 | 32 | 44.235
14878 | 1190.492 | 7 | 44.2829
14879 | 1190.5884 | 3 | 44.3793
14880 | 1190.6839 | -0.6 | 44.4748
14881 | 1190.7319 | -1.6 | 44.5228
14882 | 1190.8275 | -2.8 | 44.6184
14883 | 1190.9234 | -3.4 | 44.7143
14884 | 1190.9716 | -3.6 | 44.7625
14885 | 1191.0671 | -3.6 | 44.858
14886 | 1191.1634 | -4.4 | 44.9543
14887 | 1191.2109 | -4.2 | 45.0018
14888 | 1191.3066 | -4.8 | 45.0975
14889 | 1191.4024 | -3.8 | 45.1933
14890 | 1191.4503 | -4.8 | 45.2412
14891 | 1191.5461 | -5.8 | 45.337
14892 | 1191.6419 | -5.2 | 45.4328
14893 | 1191.6899 | -4.8 | 45.4808
14894 | 1191.7857 | -5.8 | 45.5766
14895 | 1191.8819 | -11.4 | 45.6728
14896 | 1191.9294 | -50.6 | 45.7203
14897 | 1192.0253 | -20.2 | 45.8162
14898 | 1192.1215 | -14.8 | 45.9124
14899 | 1192.1693 | -10.8 | 45.9602
14900 | 1192.2649 | -11 | 46.0558
14901 | 1192.3607 | -9.8 | 46.1516
14902 | 1192.4085 | -8 | 46.1994
14903 | 1192.5043 | -8 | 46.2952
14904 | 1192.6001 | -7.8 | 46.391
14905 | 1192.6479 | -7.4 | 46.4388
14906 | 1192.7437 | -7.6 | 46.5346
14907 | 1192.8399 | -7.4 | 46.6308
14908 | 1192.8873 | -7 | 46.6782
14909 | 1192.9831 | -7.8 | 46.774
14910 | 1193.0788 | -7.4 | 46.8697
14911 | 1193.1268 | -7 | 46.9177
14912 | 1193.2225 | -6.2 | 47.0134
14913 | 1193.3183 | -6.2 | 47.1092
14914 | 1193.3662 | -36 | 47.1571
14915 | 1193.4619 | -24.4 | 47.2528
14916 | 1193.5577 | -14.6 | 47.3486
14917 | 1193.6056 | -12.6 | 47.3965
14918 | 1193.7017 | -10 | 47.4926
14919 | 1193.7971 | -8.6 | 47.588
14920 | 1193.8454 | -9.4 | 47.6363
14921 | 1193.9411 | -10.4 | 47.732
14922 | 1194.0372 | -8.6 | 47.8281
14923 | 1194.0844 | -8.6 | 47.8753
14924 | 1194.1805 | -8.2 | 47.9714
14925 | 1194.2759 | -8.6 | 48.0668
14926 | 1194.3243 | -7.2 | 48.1152
14927 | 1194.4036 | -7.2 | 48.1945
14928 | 1194.4678 | -8.6 | 48.2587
14929 | 1194.5632 | -7.8 | 48.3541
14930 | 1194.6275 | -7.2 | 48.4184
14931 | 1194.7227 | -7.4 | 48.5136
14932 | 1194.787 | -8 | 48.5779
14933 | 1194.8824 | 11.8 | 48.6733
14934 | 1194.9787 | 23.8 | 48.7696
14935 | 1195.0424 | 5.8 | 48.8333
14936 | 1195.1385 | 2.6 | 48.9294
14937 | 1195.2017 | -1 | 48.9926
14938 | 1195.2973 | -1.4 | 49.0882
14939 | 1195.3616 | -2.4 | 49.1525
14940 | 1195.4569 | -1.6 | 49.2478
14941 | 1195.5209 | -2.2 | 49.3118
14942 | 1195.6172 | -2.8 | 49.4081
14943 | 1195.6811 | -4.4 | 49.472
14944 | 1195.7769 | -2.2 | 49.5678
14945 | 1195.8405 | -3 | 49.6314
14946 | 1195.9362 | -4 | 49.7271
14947 | 1195.9997 | -3.2 | 49.7906
14948 | 1196.0799 | -3 | 49.8708
14949 | 1196.176 | -3 | 49.9669
14950 | 1196.2391 | -4.6 | 50.03
14951 | 1196.3353 | -3.8 | 50.1262
14952 | 1196.3987 | 21 | 50.1896
14953 | 1196.4944 | 181.2 | 50.2853
14954 | 1196.5747 | 49.6 | 50.3656
14955 | 1196.6382 | 23.8 | 50.4291
14956 | 1196.7338 | 14.2 | 50.5247
14957 | 1196.7977 | 9.2 | 50.5886
14958 | 1196.8935 | 4.8 | 50.6844
14959 | 1196.9578 | 1.8 | 50.7487
14960 | 1197.0375 | 0.8 | 50.8284
14961 | 1197.1173 | -1.2 | 50.9082
14962 | 1197.2131 | -2.4 | 51.004
14963 | 1197.2765 | -2.2 | 51.0674
14964 | 1197.373 | -4 | 51.1639
14965 | 1197.4362 | -4 | 51.2271
14966 | 1197.532 | -4.4 | 51.3229
14967 | 1197.5963 | -5 | 51.3872
14968 | 1197.692 | -5.6 | 51.4829
14969 | 1197.7553 | -4.6 | 51.5462
14970 | 1197.8515 | -5.4 | 51.6424
14971 | 1197.9149 | 36.4 | 51.7058
14972 | 1198.0108 | 17.4 | 51.8017
14973 | 1198.0749 | 4.4 | 51.8658
14974 | 1198.1707 | 0.4 | 51.9616
14975 | 1198.2341 | -2 | 52.025
14976 | 1198.3303 | -2.2 | 52.1212
14977 | 1198.3944 | -3.4 | 52.1853
14978 | 1198.4895 | -4 | 52.2804
14979 | 1198.5533 | -4.6 | 52.3442
14980 | 1198.6491 | -4.4 | 52.44
14981 | 1198.7133 | -5.4 | 52.5042
14982 | 1198.8091 | -5.8 | 52.6
14983 | 1198.873 | -5.2 | 52.6639
14984 | 1198.9528 | -6.2 | 52.7437
14985 | 1199.0482 | -6.6 | 52.8391
14986 | 1199.1119 | -6.2 | 52.9028
14987 | 1199.2081 | -6.4 | 52.999
14988 | 1199.2716 | -6.8 | 53.0625
14989 | 1199.3677 | -6.2 | 53.1586
14990 | 1199.4311 | -34.6 | 53.222
14991 | 1199.527 | -33.6 | 53.3179
14992 | 1199.5912 | -17.4 | 53.3821
14993 | 1199.687 | -14 | 53.4779
14994 | 1199.7504 | -11.8 | 53.5413
14995 | 1199.8466 | -11 | 53.6375
14996 | 1199.91 | -9 | 53.7009
14997 | 1200.0058 | -9.6 | 53.7967
14998 | 1200.0696 | -8.4 | 53.8605
14999 | 1200.1653 | -7.6 | 53.9562
15000 | 1200.2292 | -6.8 | 54.0201
15001 | 1200.3254 | -7.8 | 54.1163
15002 | 1200.3889 | -8 | 54.1798
15003 | 1200.4846 | -7.4 | 54.2755
15004 | 1200.5484 | -7.6 | 54.3393
15005 | 1200.6442 | -6.4 | 54.4351
15006 | 1200.708 | -6.6 | 54.4989
15007 | 1200.8037 | -6.4 | 54.5946
15008 | 1200.868 | -7.4 | 54.6589
15009 | 1200.9634 | -47 | 54.7543
15010 | 1201.0432 | -18 | 54.8341
15011 | 1201.1071 | -15 | 54.898
15012 | 1201.2028 | -12.6 | 54.9937
15013 | 1201.2666 | -10.6 | 55.0575
15014 | 1201.3625 | -10.2 | 55.1534
15015 | 1201.4423 | -9 | 55.2332
15016 | 1201.5384 | -10.6 | 55.3293
15017 | 1201.6338 | -9.2 | 55.4247
15018 | 1201.6822 | -8.2 | 55.4731
15019 | 1201.7774 | -7.2 | 55.5683
15020 | 1201.8732 | -7 | 55.6641
15021 | 1201.9211 | -7.4 | 55.712
15022 | 1202.017 | -7 | 55.8079
15023 | 1202.1129 | -6.4 | 55.9038
15024 | 1202.1611 | -6.8 | 55.952
15025 | 1202.2565 | -6.4 | 56.0474
15026 | 1202.3527 | -5.6 | 56.1436
15027 | 1202.3999 | -6.4 | 56.1908
15028 | 1202.4963 | 39.4 | 56.2872
15029 | 1202.5916 | 13.4 | 56.3825
15030 | 1202.6398 | 6 | 56.4307
15031 | 1202.7358 | 1.2 | 56.5267
15032 | 1202.8314 | 0.2 | 56.6223
15033 | 1202.8793 | -1 | 56.6702
15034 | 1202.9751 | -2 | 56.766
15035 | 1203.0711 | -1.6 | 56.862
15036 | 1203.1188 | -1.6 | 56.9097
15037 | 1203.2143 | -2.8 | 57.0052
15038 | 1203.3101 | -1.6 | 57.101
15039 | 1203.3581 | -2.8 | 57.149
15040 | 1203.4542 | -2.8 | 57.2451
15041 | 1203.5496 | -2.2 | 57.3405
15042 | 1203.5979 | -2 | 57.3888
15043 | 1203.6938 | -2.2 | 57.4847
15044 | 1203.7898 | -1.6 | 57.5807
15045 | 1203.8371 | -2.4 | 57.628
15046 | 1203.9329 | -2.6 | 57.7238
15047 | 1204.0286 | 108.4 | 57.8195
15048 | 1204.0766 | 116.6 | 57.8675
15049 | 1204.1728 | 35.8 | 57.9637
15050 | 1204.2682 | 20 | 58.0591
15051 | 1204.364 | 13 | 58.1549
15052 | 1204.4119 | 7.8 | 58.2028
15053 | 1204.5081 | 5.2 | 58.299
15054 | 1204.6036 | 2.4 | 58.3945
15055 | 1204.6518 | 1.6 | 58.4427
15056 | 1204.7481 | 0.2 | 58.539
15057 | 1204.8436 | -1.2 | 58.6345
15058 | 1204.8913 | -1 | 58.6822
15059 | 1204.9868 | -2.8 | 58.7777
15060 | 1205.0825 | -2.2 | 58.8734
15061 | 1205.1308 | -1.8 | 58.9217
15062 | 1205.2266 | -2.8 | 59.0175
15063 | 1205.3222 | -3.4 | 59.1131
15064 | 1205.37 | -4.2 | 59.1609
15065 | 1205.4658 | -2.6 | 59.2567
15066 | 1205.562 | 45.6 | 59.3529
15067 | 1205.6099 | 10.2 | 59.4008
15068 | 1205.7055 | 3.4 | 59.4964
15069 | 1205.8015 | 0.8 | 59.5924
15070 | 1205.8492 | -1.4 | 59.6401
15071 | 1205.9448 | -1.4 | 59.7357
15072 | 1206.0407 | -2.4 | 59.8316
15073 | 1206.0886 | -3.8 | 59.8795
15074 | 1206.1524 | -3.6 | 59.9433
15075 | 1206.2647 | -5 | 60.0556
15076 | 1206.3604 | -3.8 | 60.1513
15077 | 1206.4082 | -4.2 | 60.1991
15078 | 1206.5044 | -5.4 | 60.2953
15079 | 1206.5996 | -4.6 | 60.3905
15080 | 1206.6475 | -6 | 60.4384
15081 | 1206.7436 | -4.8 | 60.5345
15082 | 1206.839 | -5.4 | 60.6299
15083 | 1206.8869 | -5.4 | 60.6778
15084 | 1206.9834 | -7.8 | 60.7743
15085 | 1207.0789 | -50 | 60.8698
15086 | 1207.1268 | -22 | 60.9177
15087 | 1207.2227 | -13.6 | 61.0136
15088 | 1207.3184 | -12 | 61.1093
15089 | 1207.3663 | -9.4 | 61.1572
15090 | 1207.4623 | -10 | 61.2532
15091 | 1207.5583 | -9 | 61.3492
15092 | 1207.6058 | -7.6 | 61.3967
15093 | 1207.7013 | -8.6 | 61.4922
15094 | 1207.7971 | -6.8 | 61.588
15095 | 1207.845 | -6.8 | 61.6359
15096 | 1207.9413 | -7.2 | 61.7322
15097 | 1208.0366 | -5.8 | 61.8275
15098 | 1208.0846 | -6.4 | 61.8755
15099 | 1208.1807 | -5.4 | 61.9716
15100 | 1208.2767 | -5.8 | 62.0676
15101 | 1208.324 | -6 | 62.1149
15102 | 1208.4203 | -6 | 62.2112
15103 | 1208.5157 | -27 | 62.3066
15104 | 1208.564 | -25.8 | 62.3549
15105 | 1208.6595 | -15.6 | 62.4504
15106 | 1208.7551 | -11.6 | 62.546
15107 | 1208.8036 | -11.6 | 62.5945
15108 | 1208.8991 | -10.6 | 62.69
15109 | 1208.9948 | -9.2 | 62.7857
15110 | 1209.0426 | -9.2 | 62.8335
15111 | 1209.1385 | -8.4 | 62.9294
15112 | 1209.2343 | -9.2 | 63.0252
15113 | 1209.2827 | -8.8 | 63.0736
15114 | 1209.3784 | -6.6 | 63.1693
15115 | 1209.4738 | -8 | 63.2647
15116 | 1209.5217 | -8.2 | 63.3126
15117 | 1209.6175 | -7.4 | 63.4084
15118 | 1209.7137 | -7.6 | 63.5046
15119 | 1209.7616 | -7.2 | 63.5525
15120 | 1209.857 | -7 | 63.6479
15121 | 1209.9528 | -6.6 | 63.7437
15122 | 1210.0007 | 0.4 | 63.7916
15123 | 1210.0969 | 34.6 | 63.8878
15124 | 1210.1763 | 7.6 | 63.9672
15125 | 1210.2402 | 3.8 | 64.0311
15126 | 1210.3361 | 1.8 | 64.127
15127 | 1210.4003 | 0 | 64.1912
15128 | 1210.4957 | -1.4 | 64.2866
15129 | 1210.5596 | -2.4 | 64.3505
15130 | 1210.6558 | -2.2 | 64.4467
15131 | 1210.7194 | -1.8 | 64.5103
15132 | 1210.8152 | -2 | 64.6061
15133 | 1210.8794 | -2.2 | 64.6703
15134 | 1210.9748 | -2.2 | 64.7657
15135 | 1211.039 | -1.8 | 64.8299
15136 | 1211.1349 | -2.4 | 64.9258
15137 | 1211.199 | -1.2 | 64.9899
15138 | 1211.2945 | -3.4 | 65.0854
15139 | 1211.3584 | -3 | 65.1493
15140 | 1211.4383 | -2.6 | 65.2292
15141 | 1211.5341 | 6.8 | 65.325
15142 | 1211.598 | 185 | 65.3889
15143 | 1211.6938 | 57.6 | 65.4847
15144 | 1211.7736 | 28.2 | 65.5645
15145 | 1211.8539 | 16.6 | 65.6448
15146 | 1211.9333 | 10 | 65.7242
15147 | 1212.0131 | 6 | 65.804
15148 | 1212.1089 | 3.6 | 65.8998
15149 | 1212.1568 | 2.8 | 65.9477
15150 | 1212.2528 | 0 | 66.0437
15151 | 1212.3485 | -1.2 | 66.1394
15152 | 1212.4443 | -1.8 | 66.2352
15153 | 1212.4924 | -2 | 66.2833
15154 | 1212.5881 | -4 | 66.379
15155 | 1212.6834 | -3.4 | 66.4743
15156 | 1212.7312 | -3.8 | 66.5221
15157 | 1212.827 | -3.6 | 66.6179
15158 | 1212.9232 | -4 | 66.7141
15159 | 1212.9707 | -4.6 | 66.7616
15160 | 1213.0346 | 17.6 | 66.8255
15161 | 1213.1303 | 19.4 | 66.9212
15162 | 1213.2101 | 5.6 | 67.001
15163 | 1213.274 | 1.2 | 67.0649
15164 | 1213.3698 | -1 | 67.1607
15165 | 1213.4341 | -2 | 67.225
15166 | 1213.5294 | -2.6 | 67.3203
15167 | 1213.5937 | -3.6 | 67.3846
15168 | 1213.6892 | -4.2 | 67.4801
15169 | 1213.753 | -4.4 | 67.5439
15170 | 1213.8495 | -4.8 | 67.6404
15171 | 1213.9127 | -4.4 | 67.7036
15172 | 1214.0088 | -5 | 67.7997
15173 | 1214.0727 | -4.4 | 67.8636
15174 | 1214.1685 | -5.6 | 67.9594
15175 | 1214.232 | -6.2 | 68.0229
15176 | 1214.3281 | -4.8 | 68.119
15177 | 1214.3916 | -5.6 | 68.1825
15178 | 1214.4874 | -5 | 68.2783
15179 | 1214.5512 | -19.8 | 68.3421
15180 | 1214.647 | -43 | 68.4379
15181 | 1214.7109 | -17.6 | 68.5018
15182 | 1214.8066 | -14 | 68.5975
15183 | 1214.8705 | -11.4 | 68.6614
15184 | 1214.9667 | -10.8 | 68.7576
15185 | 1215.0307 | -9.6 | 68.8216
15186 | 1215.1264 | -8.2 | 68.9173
15187 | 1215.19 | -8.6 | 68.9809
15188 | 1215.2861 | -8.2 | 69.077
15189 | 1215.3499 | -7.4 | 69.1408
15190 | 1215.4457 | -6 | 69.2366
15191 | 1215.5091 | -7.2 | 69.3
15192 | 1215.605 | -7 | 69.3959
15193 | 1215.6688 | -7.2 | 69.4597
15194 | 1215.7649 | -6.4 | 69.5558
15195 | 1215.8604 | -5.6 | 69.6513
15196 | 1215.9246 | -7 | 69.7155
15197 | 1216.0204 | -6 | 69.8113
15198 | 1216.0846 | -43.2 | 69.8755
15199 | 1216.164 | -17.6 | 69.9549
15200 | 1216.2439 | -14.2 | 70.0348
15201 | 1216.3397 | -11.8 | 70.1306
15202 | 1216.4191 | -10.6 | 70.21
15203 | 1216.4993 | -10.8 | 70.2902
15204 | 1216.5795 | -8.8 | 70.3704
15205 | 1216.659 | -9.6 | 70.4499
15206 | 1216.7384 | -9.2 | 70.5293
15207 | 1216.8188 | -8 | 70.6097
15208 | 1216.898 | -7.6 | 70.6889
15209 | 1216.9783 | -8 | 70.7692
15210 | 1217.0584 | -8 | 70.8493
15211 | 1217.1535 | -7.6 | 70.9444
15212 | 1217.2018 | -8.4 | 70.9927
15213 | 1217.2976 | -8.2 | 71.0885
15214 | 1217.3931 | -6.6 | 71.184
15215 | 1217.4408 | -8.2 | 71.2317
15216 | 1217.5367 | -6.6 | 71.3276
15217 | 1217.6329 | 31.4 | 71.4238
15218 | 1217.6805 | 17.8 | 71.4714
15219 | 1217.7762 | 5 | 71.5671
15220 | 1217.872 | 2.2 | 71.6629
15221 | 1217.9198 | -0.2 | 71.7107
15222 | 1218.016 | 0 | 71.8069
15223 | 1218.1121 | -0.4 | 71.903
15224 | 1218.2079 | -0.6 | 71.9988
15225 | 1218.255 | -2.2 | 72.0459
15226 | 1218.3513 | -2.6 | 72.1422
15227 | 1218.4466 | -2 | 72.2375
15228 | 1218.4946 | -1.6 | 72.2855
15229 | 1218.5904 | -2.2 | 72.3813
15230 | 1218.6701 | -2.4 | 72.461
15231 | 1218.75 | -2.4 | 72.5409
15232 | 1218.8302 | -2.4 | 72.6211
15233 | 1218.9096 | -2.8 | 72.7005
15234 | 1218.974 | -3 | 72.7649
15235 | 1219.0373 | -3.8 | 72.8282
15236 | 1219.1335 | 60.8 | 72.9244
15237 | 1219.1974 | 148.4 | 72.9883
15238 | 1219.2927 | 38.4 | 73.0836
15239 | 1219.3566 | 21.2 | 73.1475
15240 | 1219.4524 | 12.4 | 73.2433
15241 | 1219.5323 | 7.8 | 73.3232
15242 | 1219.6284 | 5 | 73.4193
15243 | 1219.7241 | 1.8 | 73.515
15244 | 1219.7717 | 1.2 | 73.5626
15245 | 1219.8675 | -1.4 | 73.6584
15246 | 1219.9632 | -0.2 | 73.7541
15247 | 1220.0113 | -2.8 | 73.8022
15248 | 1220.107 | -2.6 | 73.8979
15249 | 1220.2028 | -2.8 | 73.9937
15250 | 1220.2508 | -3.8 | 74.0417
15251 | 1220.3471 | -5.6 | 74.138
15252 | 1220.4425 | -4 | 74.2334
15253 | 1220.4905 | -4.8 | 74.2814
15254 | 1220.5859 | -5.2 | 74.3768
15255 | 1220.6817 | -157.6 | 74.4726
15256 | 1220.7301 | -60 | 74.521
15257 | 1220.8254 | -30 | 74.6163
15258 | 1220.9213 | -22.4 | 74.7122
15259 | 1220.9531 | -17.6 | 74.744
15260 | 1221.0489 | -14.4 | 74.8398
15261 | 1221.1127 | -13 | 74.9036
15262 | 1221.209 | -12 | 74.9999
15263 | 1221.2724 | -10.4 | 75.0633
15264 | 1221.3686 | -9.6 | 75.1595
15265 | 1221.432 | -10.4 | 75.2229
15266 | 1221.5279 | -9 | 75.3188
15267 | 1221.5917 | -9.4 | 75.3826
15268 | 1221.6874 | -8 | 75.4783
15269 | 1221.7513 | -8.2 | 75.5422
15270 | 1221.8471 | -7 | 75.638
15271 | 1221.911 | -7.6 | 75.7019
15272 | 1222.0068 | -8.2 | 75.7977
15273 | 1222.0711 | -5.8 | 75.862
15274 | 1222.1671 | -6.6 | 75.958
15275 | 1222.2307 | -6.8 | 76.0216
15276 | 1222.3264 | -7.8 | 76.1173
15277 | 1222.3903 | -6.2 | 76.1812
15278 | 1222.486 | -7 | 76.2769
15279 | 1222.5499 | -6.2 | 76.3408
15280 | 1222.6452 | -6.8 | 76.4361
15281 | 1222.741 | -6 | 76.5319
15282 | 1222.8206 | -6.4 | 76.6115
15283 | 1222.8847 | -6 | 76.6756
15284 | 1222.9806 | -6.4 | 76.7715
15285 | 1223.044 | -5.4 | 76.8349
15286 | 1223.1245 | -5.6 | 76.9154
15287 | 1223.2041 | -5.8 | 76.995
15288 | 1223.3 | -6 | 77.0909
15289 | 1223.3795 | -7.2 | 77.1704
15290 | 1223.4588 | -6 | 77.2497
15291 | 1223.5387 | -5.6 | 77.3296
15292 | 1223.6185 | -6.4 | 77.4094
15293 | 1223.6982 | -5 | 77.4891
15294 | 1223.7781 | -5.6 | 77.569
15295 | 1223.8581 | -6.2 | 77.649
15296 | 1223.9375 | -5.4 | 77.7284
15297 | 1224.0176 | -5 | 77.8085
15298 | 1224.0974 | -5.6 | 77.8883
15299 | 1224.1772 | -6.6 | 77.9681
15300 | 1224.257 | -5.6 | 78.0479
15301 | 1224.3369 | -5.4 | 78.1278
15302 | 1224.4321 | -5.8 | 78.223
15303 | 1224.5118 | -5.8 | 78.3027
15304 | 1224.5916 | -5.6 | 78.3825
15305 | 1224.6394 | -5.4 | 78.4303
15306 | 1224.7352 | -4.6 | 78.5261
15307 | 1224.8309 | -5.8 | 78.6218
15308 | 1224.8788 | -5.4 | 78.6697
15309 | 1224.9745 | -5.8 | 78.7654
15310 | 1225.0702 | -6.2 | 78.8611
15311 | 1225.118 | -6 | 78.9089
15312 | 1225.2138 | -5.2 | 79.0047
15313 | 1225.3095 | -5.8 | 79.1004
15314 | 1225.3574 | -5.6 | 79.1483
15315 | 1225.4531 | -5 | 79.244
15316 | 1225.5489 | -4.2 | 79.3398
15317 | 1225.6447 | -5.2 | 79.4356
15318 | 1225.6924 | -5 | 79.4833
15319 | 1225.7881 | -4.4 | 79.579
15320 | 1225.8519 | -5.6 | 79.6428
15321 | 1225.9158 | -4.6 | 79.7067
15322 | 1226.0115 | -5.2 | 79.8024
15323 | 1226.0754 | -4.6 | 79.8663
15324 | 1226.1711 | -4.8 | 79.962
15325 | 1226.2349 | -4.8 | 80.0258
15326 | 1226.3306 | -5 | 80.1215
15327 | 1226.3944 | -4.8 | 80.1853
15328 | 1226.4902 | -5 | 80.2811
15329 | 1226.5541 | -4.4 | 80.345
15330 | 1226.6342 | -5.6 | 80.4251
15331 | 1226.7139 | -4 | 80.5048
15332 | 1226.7933 | -6 | 80.5842
15333 | 1226.8891 | -4 | 80.68
15334 | 1227.0011 | -4.4 | 80.792
15335 | 1227.049 | -5 | 80.8399
15336 | 1227.1604 | -4.2 | 80.9513
15337 | 1227.2085 | -4.2 | 80.9994
15338 | 1227.3045 | -5 | 81.0954