## in
Viewer version | 2.91
Measure start time | Monday, March 24, 2025 2:08:59 PM
Type of measurement | Flow [Linearized]
Sampling interval [ms] | 80
Timing information | Relative
Article code | SLI-2000
Serial Number | 215100075
COM HW Type | RS485/USB Sensor Cable
COM HW Config | Config String: COM4, 115200, ECHOOFF
Sensor Cable Version | 1.8
I2C Address | 64
Scale Factor | 5
Resolution (bit) | 16
Calibration Field | 0
Sample # | Relative Time[s] | Flow [ul/min]
10807 | 864.7123 | -6.8 | 0 | 25.9578
10808 | 864.8079 | -7.2 | 0.0956 | 22.6382
10809 | 864.8719 | -7.8 | 0.1596 | 13.7493
10810 | 864.9677 | -6.4 | 0.2554 | 20.7817
10811 | 865.0477 | -7.6 | 0.3354
10812 | 865.1433 | -7.6 | 0.431
10813 | 865.2392 | -7.8 | 0.5269
10814 | 865.287 | -6.6 | 0.5747
10815 | 865.3828 | -6 | 0.6705
10816 | 865.4467 | -8.4 | 0.7344
10817 | 865.5105 | -6.4 | 0.7982
10818 | 865.6063 | -7 | 0.894
10819 | 865.6702 | -7 | 0.9579
10820 | 865.766 | -6.6 | 1.0537
10821 | 865.8618 | -6.8 | 1.1495
10822 | 865.9256 | -6.6 | 1.2133
10823 | 866.0214 | -6.8 | 1.3091
10824 | 866.0853 | -6.8 | 1.373
10825 | 866.1652 | -6.6 | 1.4529
10826 | 866.2615 | -7.2 | 1.5492
10827 | 866.3412 | -7.2 | 1.6289
10828 | 866.421 | -7.2 | 1.7087
10829 | 866.5009 | -7.8 | 1.7886
10830 | 866.5807 | -7.4 | 1.8684
10831 | 866.6608 | -7 | 1.9485
10832 | 866.74 | -6.8 | 2.0277
10833 | 866.8202 | -5.6 | 2.1079
10834 | 866.9163 | -6.4 | 2.204
10835 | 866.9639 | -7 | 2.2516
10836 | 867.0597 | -7.2 | 2.3474
10837 | 867.1555 | -7.2 | 2.4432
10838 | 867.2034 | -6.8 | 2.4911
10839 | 867.2987 | -6 | 2.5864
10840 | 867.3949 | -7.4 | 2.6826
10841 | 867.4904 | -7 | 2.7781
10842 | 867.5383 | -7.2 | 2.826
10843 | 867.6341 | -6.6 | 2.9218
10844 | 867.7299 | -6.2 | 3.0176
10845 | 867.7779 | -6.6 | 3.0656
10846 | 867.8736 | -7 | 3.1613
10847 | 867.9375 | -6.4 | 3.2252
10848 | 868.0178 | -7.2 | 3.3055
10849 | 868.1137 | -6.6 | 3.4014
10850 | 868.1929 | -8 | 3.4806
10851 | 868.2567 | -7.4 | 3.5444
10852 | 868.3206 | -7.2 | 3.6083
10853 | 868.4165 | -8 | 3.7042
10854 | 868.4803 | -6.8 | 3.768
10855 | 868.5761 | -6.8 | 3.8638
10856 | 868.6401 | -6.8 | 3.9278
10857 | 868.736 | -6.2 | 4.0237
10858 | 868.8156 | -7.2 | 4.1033
10859 | 868.8955 | -6.4 | 4.1832
10860 | 868.9593 | -5.8 | 4.247
10861 | 869.0393 | -6.6 | 4.327
10862 | 869.1194 | -6.4 | 4.4071
10863 | 869.1992 | -7.4 | 4.4869
10864 | 869.2946 | -8.4 | 4.5823
10865 | 869.3748 | -7.2 | 4.6625
10866 | 869.4703 | -5.2 | 4.758
10867 | 869.5664 | -6 | 4.8541
10868 | 869.6146 | -6.4 | 4.9023
10869 | 869.7102 | -6.6 | 4.9979
10870 | 869.8063 | -8 | 5.094
10871 | 869.8538 | -6.4 | 5.1415
10872 | 869.9496 | -6.4 | 5.2373
10873 | 870.0454 | -7 | 5.3331
10874 | 870.0931 | -6.6 | 5.3808
10875 | 870.1892 | -6.6 | 5.4769
10876 | 870.2852 | -5.6 | 5.5729
10877 | 870.3324 | -7 | 5.6201
10878 | 870.4286 | -5.8 | 5.7163
10879 | 870.5242 | -6.8 | 5.8119
10880 | 870.5726 | -5.8 | 5.8603
10881 | 870.6678 | -5.8 | 5.9555
10882 | 870.7639 | -7.2 | 6.0516
10883 | 870.8118 | -7.4 | 6.0995
10884 | 870.9076 | -6.4 | 6.1953
10885 | 871.0034 | -7.4 | 6.2911
10886 | 871.0512 | -6 | 6.3389
10887 | 871.1469 | -6 | 6.4346
10888 | 871.2426 | -6 | 6.5303
10889 | 871.2905 | -8 | 6.5782
10890 | 871.3866 | -5.8 | 6.6743
10891 | 871.482 | -6.6 | 6.7697
10892 | 871.5303 | -6.8 | 6.818
10893 | 871.6259 | -6.6 | 6.9136
10894 | 871.7217 | -7.8 | 7.0094
10895 | 871.7696 | -7.4 | 7.0573
10896 | 871.8659 | -7 | 7.1536
10897 | 871.9613 | -6.8 | 7.249
10898 | 872.0096 | -4.6 | 7.2973
10899 | 872.0732 | 52.6 | 7.3609
10900 | 872.169 | 10.8 | 7.4567
10901 | 872.2655 | 4 | 7.5532
10902 | 872.3607 | 2 | 7.6484
10903 | 872.4089 | -1.2 | 7.6966
10904 | 872.5045 | -2.2 | 7.7922
10905 | 872.6009 | -2.6 | 7.8886
10906 | 872.6487 | -4 | 7.9364
10907 | 872.7442 | -3.6 | 8.0319
10908 | 872.8401 | -4.4 | 8.1278
10909 | 872.8879 | -4.2 | 8.1756
10910 | 872.984 | -4.6 | 8.2717
10911 | 873.08 | -4.2 | 8.3677
10912 | 873.1276 | -3.6 | 8.4153
10913 | 873.2238 | -4 | 8.5115
10914 | 873.3196 | 112.4 | 8.6073
10915 | 873.3675 | 117.4 | 8.6552
10916 | 873.4631 | 34.6 | 8.7508
10917 | 873.5597 | 18.6 | 8.8474
10918 | 873.6072 | 10.4 | 8.8949
10919 | 873.7028 | 5.4 | 8.9905
10920 | 873.7987 | 2.4 | 9.0864
10921 | 873.8468 | 1.6 | 9.1345
10922 | 873.9423 | -1.8 | 9.23
10923 | 874.0381 | -3.4 | 9.3258
10924 | 874.1345 | -3.4 | 9.4222
10925 | 874.182 | -4.6 | 9.4697
10926 | 874.2782 | -2.6 | 9.5659
10927 | 874.3742 | -5.4 | 9.6619
10928 | 874.4216 | -5.2 | 9.7093
10929 | 874.5178 | 29.6 | 9.8055
10930 | 874.6134 | 6.8 | 9.9011
10931 | 874.6613 | 0.8 | 9.949
10932 | 874.7575 | -1.6 | 10.0452
10933 | 874.8529 | -1.6 | 10.1406
10934 | 874.9015 | -3.4 | 10.1892
10935 | 874.9968 | -4.6 | 10.2845
10936 | 875.0926 | -4.4 | 10.3803
10937 | 875.1408 | -6.8 | 10.4285
10938 | 875.2369 | -6 | 10.5246
10939 | 875.3326 | -5.8 | 10.6203
10940 | 875.3802 | -5.4 | 10.6679
10941 | 875.476 | -5.2 | 10.7637
10942 | 875.572 | -7.2 | 10.8597
10943 | 875.6198 | -4.8 | 10.9075
10944 | 875.7156 | -119 | 11.0033
10945 | 875.8117 | -57.2 | 11.0994
10946 | 875.8601 | -29.6 | 11.1478
10947 | 875.9552 | -20.6 | 11.2429
10948 | 876.0519 | -17.6 | 11.3396
10949 | 876.0994 | -15 | 11.3871
10950 | 876.1954 | -13.6 | 11.4831
10951 | 876.2908 | -12 | 11.5785
10952 | 876.339 | -11.8 | 11.6267
10953 | 876.4352 | -11.2 | 11.7229
10954 | 876.531 | -9 | 11.8187
10955 | 876.5788 | -11.2 | 11.8665
10956 | 876.6746 | -9.6 | 11.9623
10957 | 876.77 | -9.4 | 12.0577
10958 | 876.818 | -10.6 | 12.1057
10959 | 876.9138 | -35 | 12.2015
10960 | 877.0103 | -17.4 | 12.298
10961 | 877.0579 | -13.8 | 12.3456
10962 | 877.1534 | -11.8 | 12.4411
10963 | 877.2497 | -10.6 | 12.5374
10964 | 877.2973 | -11 | 12.585
10965 | 877.3936 | -10.4 | 12.6813
10966 | 877.4888 | -9.2 | 12.7765
10967 | 877.5368 | -8.6 | 12.8245
10968 | 877.6326 | -9 | 12.9203
10969 | 877.7285 | -9.4 | 13.0162
10970 | 877.7765 | -9 | 13.0642
10971 | 877.8723 | -8.8 | 13.16
10972 | 877.9682 | -9 | 13.2559
10973 | 878.0161 | -9.2 | 13.3038
10974 | 878.0959 | 7 | 13.3836
10975 | 878.1759 | 30.2 | 13.4636
10976 | 878.2561 | 6 | 13.5438
10977 | 878.3516 | 0.4 | 13.6393
10978 | 878.4474 | -1 | 13.7351
10979 | 878.4793 | -2.8 | 13.767
10980 | 878.5751 | -3.2 | 13.8628
10981 | 878.6711 | -4.2 | 13.9588
10982 | 878.7669 | -5.6 | 14.0546
10983 | 878.8149 | -4.6 | 14.1026
10984 | 878.9108 | -3.6 | 14.1985
10985 | 879.0071 | -4.2 | 14.2948
10986 | 879.0549 | -5.2 | 14.3426
10987 | 879.1508 | -5.8 | 14.4385
10988 | 879.2465 | -5.6 | 14.5342
10989 | 879.2942 | -1.2 | 14.5819
10990 | 879.39 | 181.4 | 14.6777
10991 | 879.486 | 63.6 | 14.7737
10992 | 879.5337 | 26.8 | 14.8214
10993 | 879.6296 | 14 | 14.9173
10994 | 879.7258 | 8.4 | 15.0135
10995 | 879.7734 | 3.8 | 15.0611
10996 | 879.8693 | 1.2 | 15.157
10997 | 879.9491 | -1.2 | 15.2368
10998 | 880.029 | -2.4 | 15.3167
10999 | 880.0929 | -3 | 15.3806
11000 | 880.2047 | -3.6 | 15.4924
11001 | 880.2526 | -3 | 15.5403
11002 | 880.349 | -4.6 | 15.6367
11003 | 880.4448 | -5 | 15.7325
11004 | 880.5406 | -3 | 15.8283
11005 | 880.5721 | 30.6 | 15.8598
11006 | 880.668 | 5.6 | 15.9557
11007 | 880.7319 | 0 | 16.0196
11008 | 880.8603 | -2.8 | 16.148
11009 | 880.9077 | -4.2 | 16.1954
11010 | 881.0036 | -4 | 16.2913
11011 | 881.0994 | -6 | 16.3871
11012 | 881.1473 | -5.4 | 16.435
11013 | 881.2432 | -6.4 | 16.5309
11014 | 881.3393 | -5.8 | 16.627
11015 | 881.3871 | -6.4 | 16.6748
11016 | 881.4837 | -7.2 | 16.7714
11017 | 881.579 | -6.8 | 16.8667
11018 | 881.6266 | -7.6 | 16.9143
11019 | 881.7223 | -7.2 | 17.01
11020 | 881.818 | -139 | 17.1057
11021 | 881.8664 | -47 | 17.1541
11022 | 881.9297 | -27 | 17.2174
11023 | 882.0574 | -22 | 17.3451
11024 | 882.1055 | -17.6 | 17.3932
11025 | 882.2016 | -16.6 | 17.4893
11026 | 882.2971 | -13.8 | 17.5848
11027 | 882.345 | -12.8 | 17.6327
11028 | 882.441 | -12.4 | 17.7287
11029 | 882.5364 | -10.8 | 17.8241
11030 | 882.5847 | -12.2 | 17.8724
11031 | 882.6801 | -10.2 | 17.9678
11032 | 882.7603 | -9.8 | 18.048
11033 | 882.8237 | -10 | 18.1114
11034 | 882.8876 | -10.2 | 18.1753
11035 | 882.9839 | -39 | 18.2716
11036 | 883.0472 | -17.6 | 18.3349
11037 | 883.1434 | -14.8 | 18.4311
11038 | 883.2073 | -12.6 | 18.495
11039 | 883.2873 | -10 | 18.575
11040 | 883.3829 | -10.4 | 18.6706
11041 | 883.4468 | -11.8 | 18.7345
11042 | 883.5425 | -10 | 18.8302
11043 | 883.6219 | -11 | 18.9096
11044 | 883.6863 | -9 | 18.974
11045 | 883.7975 | -9.4 | 19.0852
11046 | 883.8774 | -9.6 | 19.1651
11047 | 883.9576 | -9.8 | 19.2453
11048 | 884.0534 | -9.8 | 19.3411
11049 | 884.1328 | -9 | 19.4205
11050 | 884.1814 | 26 | 19.4691
11051 | 884.2769 | 18.8 | 19.5646
11052 | 884.3727 | 4 | 19.6604
11053 | 884.4206 | -0.2 | 19.7083
11054 | 884.5164 | -0.4 | 19.8041
11055 | 884.6122 | -4.6 | 19.8999
11056 | 884.6604 | -4.6 | 19.9481
11057 | 884.7556 | -4.2 | 20.0433
11058 | 884.8516 | -3.6 | 20.1393
11059 | 884.8991 | -4 | 20.1868
11060 | 884.9629 | -5.6 | 20.2506
11061 | 885.0587 | -4.8 | 20.3464
11062 | 885.123 | -5.4 | 20.4107
11063 | 885.2188 | -5.4 | 20.5065
11064 | 885.2828 | -5.2 | 20.5705
11065 | 885.3784 | 6.8 | 20.6661
11066 | 885.4418 | 197.2 | 20.7295
11067 | 885.5383 | 53.8 | 20.826
11068 | 885.6015 | 25 | 20.8892
11069 | 885.6972 | 13.2 | 20.9849
11070 | 885.7611 | 7.6 | 21.0488
11071 | 885.8569 | 3.2 | 21.1446
11072 | 885.9208 | -0.6 | 21.2085
11073 | 886.049 | -1.2 | 21.3367
11074 | 886.0964 | -2.2 | 21.3841
11075 | 886.1921 | -3.6 | 21.4798
11076 | 886.2559 | -4.4 | 21.5436
11077 | 886.3198 | -4.4 | 21.6075
11078 | 886.432 | -5.2 | 21.7197
11079 | 886.5277 | -5.4 | 21.8154
11080 | 886.5754 | 5.6 | 21.8631
11081 | 886.671 | 17 | 21.9587
11082 | 886.7668 | 2.6 | 22.0545
11083 | 886.8148 | -0.6 | 22.1025
11084 | 886.9112 | -3.6 | 22.1989
11085 | 887.0066 | -5.2 | 22.2943
11086 | 887.0544 | -5.2 | 22.3421
11087 | 887.1501 | -5.2 | 22.4378
11088 | 887.2458 | -6 | 22.5335
11089 | 887.342 | -5.4 | 22.6297
11090 | 887.3898 | -6.4 | 22.6775
11091 | 887.4852 | -8.8 | 22.7729
11092 | 887.5335 | -8.2 | 22.8212
11093 | 887.6291 | -8.2 | 22.9168
11094 | 887.7248 | -7.4 | 23.0125
11095 | 887.8205 | -14.6 | 23.1082
11096 | 887.8684 | -140.6 | 23.1561
11097 | 887.9644 | -39 | 23.2521
11098 | 888.0603 | -26.8 | 23.348
11099 | 888.1077 | -20 | 23.3954
11100 | 888.2037 | -18.4 | 23.4914
11101 | 888.2994 | -16.2 | 23.5871
11102 | 888.3474 | -14 | 23.6351
11103 | 888.4437 | -12.6 | 23.7314
11104 | 888.5392 | -11.2 | 23.8269
11105 | 888.5868 | -11.8 | 23.8745
11106 | 888.6829 | -12 | 23.9706
11107 | 888.7786 | -11.6 | 24.0663
11108 | 888.8265 | -10 | 24.1142
11109 | 888.922 | -10.6 | 24.2097
11110 | 889.0181 | -17 | 24.3058
11111 | 889.0656 | -29 | 24.3533
11112 | 889.1614 | -17 | 24.4491
11113 | 889.2573 | -14.6 | 24.545
11114 | 889.3059 | -12.2 | 24.5936
11115 | 889.4017 | -11.6 | 24.6894
11116 | 889.497 | -10.6 | 24.7847
11117 | 889.5449 | -10.4 | 24.8326
11118 | 889.6404 | -10.4 | 24.9281
11119 | 889.7362 | -10 | 25.0239
11120 | 889.7841 | -9.6 | 25.0718
11121 | 889.8801 | -9.8 | 25.1678
11122 | 889.9763 | -9.8 | 25.264
11123 | 890.0238 | -9.4 | 25.3115
11124 | 890.1192 | -9.4 | 25.4069
11125 | 890.215 | -10 | 25.5027
11126 | 890.263 | 41.6 | 25.5507
11127 | 890.3594 | 12.2 | 25.6471
11128 | 890.4546 | 2.6 | 25.7423
11129 | 890.5024 | -1 | 25.7901
11130 | 890.5985 | -3 | 25.8862
11131 | 890.6942 | -3.2 | 25.9819
11132 | 890.7425 | -4 | 26.0302
11133 | 890.8381 | -4.4 | 26.1258
11134 | 890.9334 | -5 | 26.2211
11135 | 890.9815 | -5.4 | 26.2692
11136 | 891.077 | -4.8 | 26.3647
11137 | 891.1732 | -6 | 26.4609
11138 | 891.221 | -4.8 | 26.5087
11139 | 891.3167 | -5 | 26.6044
11140 | 891.4126 | -5.4 | 26.7003
11141 | 891.4606 | 48 | 26.7483
11142 | 891.556 | 164.8 | 26.8437
11143 | 891.6518 | 38.2 | 26.9395
11144 | 891.7 | 21.4 | 26.9877
11145 | 891.7954 | 10.2 | 27.0831
11146 | 891.8916 | 6 | 27.1793
11147 | 891.9392 | 2.8 | 27.2269
11148 | 892.0353 | -1.2 | 27.323
11149 | 892.1306 | -1.6 | 27.4183
11150 | 892.1792 | -2.6 | 27.4669
11151 | 892.2744 | -4.2 | 27.5621
11152 | 892.3708 | -6.2 | 27.6585
11153 | 892.4182 | -4.2 | 27.7059
11154 | 892.5142 | -5.6 | 27.8019
11155 | 892.6096 | -6.6 | 27.8973
11156 | 892.6574 | 24.4 | 27.9451
11157 | 892.7536 | 10.4 | 28.0413
11158 | 892.8494 | 0.4 | 28.1371
11159 | 892.897 | -2.8 | 28.1847
11160 | 892.9931 | -3.2 | 28.2808
11161 | 893.0885 | -5.2 | 28.3762
11162 | 893.1522 | -6 | 28.4399
11163 | 893.2162 | -5.8 | 28.5039
11164 | 893.3126 | -6 | 28.6003
11165 | 893.3758 | -8.2 | 28.6635
11166 | 893.4716 | -6 | 28.7593
11167 | 893.5355 | -6.8 | 28.8232
11168 | 893.6312 | -8 | 28.9189
11169 | 893.7111 | -7 | 28.9988
11170 | 893.8072 | -7.2 | 29.0949
11171 | 893.8548 | -55 | 29.1425
11172 | 893.9505 | -85.6 | 29.2382
11173 | 894.0463 | -33.4 | 29.334
11174 | 894.1421 | -25 | 29.4298
11175 | 894.19 | -20.2 | 29.4777
11176 | 894.2858 | -17.6 | 29.5735
11177 | 894.3656 | -15 | 29.6533
11178 | 894.4295 | -14.4 | 29.7172
11179 | 894.4933 | -12.2 | 29.781
11180 | 894.5891 | -13.2 | 29.8768
11181 | 894.653 | -13 | 29.9407
11182 | 894.7491 | -12.4 | 30.0368
11183 | 894.8126 | -12 | 30.1003
11184 | 894.9084 | -10.8 | 30.1961
11185 | 894.9722 | -10 | 30.2599
11186 | 895.068 | -32 | 30.3557
11187 | 895.1319 | -25 | 30.4196
11188 | 895.2277 | -15.4 | 30.5154
11189 | 895.2914 | -13.2 | 30.5791
11190 | 895.3872 | -11.8 | 30.6749
11191 | 895.4513 | -12 | 30.739
11192 | 895.5469 | -11 | 30.8346
11193 | 895.6108 | -10.4 | 30.8985
11194 | 895.7066 | -10 | 30.9943
11195 | 895.7704 | -9.8 | 31.0581
11196 | 895.8662 | -11 | 31.1539
11197 | 895.9621 | -10.8 | 31.2498
11198 | 896.0578 | -10.6 | 31.3455
11199 | 896.1057 | -9 | 31.3934
11200 | 896.2019 | -9.4 | 31.4896
11201 | 896.2973 | -6.2 | 31.585
11202 | 896.3291 | 45.2 | 31.6168
11203 | 896.441 | 8.4 | 31.7287
11204 | 896.5047 | 1.4 | 31.7924
11205 | 896.5846 | -1.4 | 31.8723
11206 | 896.6811 | -2.2 | 31.9688
11207 | 896.7765 | -4 | 32.0642
11208 | 896.8241 | -4 | 32.1118
11209 | 896.9199 | -4 | 32.2076
11210 | 897.0159 | -4.8 | 32.3036
11211 | 897.0639 | -5.2 | 32.3516
11212 | 897.1593 | -6 | 32.447
11213 | 897.2557 | -5.4 | 32.5434
11214 | 897.3032 | -6.4 | 32.5909
11215 | 897.3992 | -6.2 | 32.6869
11216 | 897.4946 | -6.6 | 32.7823
11217 | 897.5428 | 116.4 | 32.8305
11218 | 897.6382 | 112.4 | 32.9259
11219 | 897.734 | 33.2 | 33.0217
11220 | 897.7819 | 17.8 | 33.0696
11221 | 897.8777 | 10.4 | 33.1654
11222 | 897.9735 | 4.8 | 33.2612
11223 | 898.0214 | 2.4 | 33.3091
11224 | 898.1177 | -1.2 | 33.4054
11225 | 898.2129 | -2.6 | 33.5006
11226 | 898.2608 | -3.6 | 33.5485
11227 | 898.3566 | -4.2 | 33.6443
11228 | 898.4524 | -5.4 | 33.7401
11229 | 898.5003 | -6.2 | 33.788
11230 | 898.5968 | -5.4 | 33.8845
11231 | 898.6922 | -6.4 | 33.9799
11232 | 898.7398 | 30.4 | 34.0275
11233 | 898.8356 | 4 | 34.1233
11234 | 898.9314 | 0.6 | 34.2191
11235 | 898.9793 | -2.2 | 34.267
11236 | 899.075 | -4.2 | 34.3627
11237 | 899.1707 | -5.2 | 34.4584
11238 | 899.2191 | -6.2 | 34.5068
11239 | 899.3149 | -6 | 34.6026
11240 | 899.4108 | -7.4 | 34.6985
11241 | 899.4586 | -7.8 | 34.7463
11242 | 899.5539 | -8.2 | 34.8416
11243 | 899.6497 | -7.4 | 34.9374
11244 | 899.6976 | -7.4 | 34.9853
11245 | 899.7938 | -8.8 | 35.0815
11246 | 899.8892 | -8.4 | 35.1769
11247 | 899.9371 | -124.6 | 35.2248
11248 | 900.0333 | -58 | 35.321
11249 | 900.1291 | -30.6 | 35.4168
11250 | 900.1765 | -22.8 | 35.4642
11251 | 900.2723 | -19.6 | 35.56
11252 | 900.3361 | -17.4 | 35.6238
11253 | 900.4321 | -15.2 | 35.7198
11254 | 900.4958 | -14 | 35.7835
11255 | 900.5923 | -14 | 35.88
11256 | 900.6554 | -11.8 | 35.9431
11257 | 900.7516 | -12.8 | 36.0393
11258 | 900.8151 | -11.8 | 36.1028
11259 | 900.9115 | -11.6 | 36.1992
11260 | 900.9747 | -11 | 36.2624
11261 | 901.0705 | -9.8 | 36.3582
11262 | 901.1347 | -37.4 | 36.4224
11263 | 901.2306 | -19.2 | 36.5183
11264 | 901.2941 | -14.6 | 36.5818
11265 | 901.3898 | -12.8 | 36.6775
11266 | 901.4539 | -12.6 | 36.7416
11267 | 901.5501 | -11 | 36.8378
11268 | 901.6133 | -10.8 | 36.901
11269 | 901.7094 | -10.8 | 36.9971
11270 | 901.773 | -12 | 37.0607
11271 | 901.8691 | -10.6 | 37.1568
11272 | 901.9329 | -10.2 | 37.2206
11273 | 902.0287 | -10.4 | 37.3164
11274 | 902.0925 | -9.6 | 37.3802
11275 | 902.1719 | -10.4 | 37.4596
11276 | 902.2521 | -9.8 | 37.5398
11277 | 902.332 | 10.2 | 37.6197
11278 | 902.4118 | 23.8 | 37.6995
11279 | 902.5078 | 3.8 | 37.7955
11280 | 902.6034 | 0 | 37.8911
11281 | 902.6991 | -2.8 | 37.9868
11282 | 902.7466 | -3.2 | 38.0343
11283 | 902.8428 | -2.8 | 38.1305
11284 | 902.9381 | -3.8 | 38.2258
11285 | 902.9861 | -4.6 | 38.2738
11286 | 903.0822 | -5.8 | 38.3699
11287 | 903.1776 | -4.8 | 38.4653
11288 | 903.2255 | -4.8 | 38.5132
11289 | 903.3216 | -4.6 | 38.6093
11290 | 903.4171 | -5.2 | 38.7048
11291 | 903.4649 | -6.4 | 38.7526
11292 | 903.5607 | -1.8 | 38.8484
11293 | 903.6565 | 183.6 | 38.9442
11294 | 903.7044 | 61.8 | 38.9921
11295 | 903.7841 | 26.8 | 39.0718
11296 | 903.88 | 14 | 39.1677
11297 | 903.9438 | 8.4 | 39.2315
11298 | 904.0076 | 4 | 39.2953
11299 | 904.1033 | 1 | 39.391
11300 | 904.1672 | -1.2 | 39.4549
11301 | 904.263 | -3.8 | 39.5507
11302 | 904.3269 | -3.6 | 39.6146
11303 | 904.4227 | -4 | 39.7104
11304 | 904.4865 | -5 | 39.7742
11305 | 904.5823 | -5.2 | 39.87
11306 | 904.6625 | -5.4 | 39.9502
11307 | 904.726 | -3.8 | 40.0137
11308 | 904.8217 | 29.8 | 40.1094
11309 | 904.8856 | 3.6 | 40.1733
11310 | 904.9813 | -2.6 | 40.269
11311 | 905.0611 | -2.8 | 40.3488
11312 | 905.1252 | -4.2 | 40.4129
11313 | 905.221 | -5 | 40.5087
11314 | 905.2851 | -7 | 40.5728
11315 | 905.3811 | -5 | 40.6688
11316 | 905.4443 | -7.2 | 40.732
11317 | 905.5406 | -7 | 40.8283
11318 | 905.6043 | -7.6 | 40.892
11319 | 905.6997 | -7 | 40.9874
11320 | 905.764 | -7.4 | 41.0517
11321 | 905.8593 | -8.2 | 41.147
11322 | 905.9232 | -9.6 | 41.2109
11323 | 906.0189 | -144.4 | 41.3066
11324 | 906.1151 | -43.8 | 41.4028
11325 | 906.1791 | -28.6 | 41.4668
11326 | 906.2751 | -22 | 41.5628
11327 | 906.3381 | -18.6 | 41.6258
11328 | 906.4339 | -16 | 41.7216
11329 | 906.5142 | -14.8 | 41.8019
11330 | 906.578 | -13.4 | 41.8657
11331 | 906.6734 | -12.4 | 41.9611
11332 | 906.7379 | -11.8 | 42.0256
11333 | 906.8334 | -12.2 | 42.1211
11334 | 906.8968 | -12.2 | 42.1845
11335 | 906.993 | -11.6 | 42.2807
11336 | 907.0565 | -11.4 | 42.3442
11337 | 907.1527 | -11 | 42.4404
11338 | 907.2161 | -39.6 | 42.5038
11339 | 907.3123 | -19.4 | 42.6
11340 | 907.3758 | -14.6 | 42.6635
11341 | 907.472 | -13.6 | 42.7597
11342 | 907.5358 | -12.6 | 42.8235
11343 | 907.6156 | -11.8 | 42.9033
11344 | 907.7116 | -10.8 | 42.9993
11345 | 907.7748 | -11.2 | 43.0625
11346 | 907.8711 | -10 | 43.1588
11347 | 907.9344 | -10.2 | 43.2221
11348 | 908.0309 | -9.6 | 43.3186
11349 | 908.11 | -9.8 | 43.3977
11350 | 908.1739 | -8.8 | 43.4616
11351 | 908.2702 | -10.2 | 43.5579
11352 | 908.3499 | -9.4 | 43.6376
11353 | 908.4293 | 31 | 43.717
11354 | 908.5098 | 16 | 43.7975
11355 | 908.5731 | 3.6 | 43.8608
11356 | 908.6532 | 0.8 | 43.9409
11357 | 908.7493 | -2.4 | 44.037
11358 | 908.8125 | -3.2 | 44.1002
11359 | 908.9086 | -3.2 | 44.1963
11360 | 908.9724 | -4.4 | 44.2601
11361 | 909.0685 | -5.6 | 44.3562
11362 | 909.148 | -4.8 | 44.4357
11363 | 909.2115 | -5.8 | 44.4992
11364 | 909.3078 | -5.2 | 44.5955
11365 | 909.3714 | -5 | 44.6591
11366 | 909.4675 | -5.4 | 44.7552
11367 | 909.5308 | -6 | 44.8185
11368 | 909.6269 | 13.8 | 44.9146
11369 | 909.6908 | 193 | 44.9785
11370 | 909.786 | 50.6 | 45.0737
11371 | 909.8504 | 23.2 | 45.1381
11372 | 909.9462 | 12.8 | 45.2339
11373 | 910.01 | 7.2 | 45.2977
11374 | 910.1054 | 2.4 | 45.3931
11375 | 910.1697 | 0.2 | 45.4574
11376 | 910.2654 | -1.8 | 45.5531
11377 | 910.3293 | -2 | 45.617
11378 | 910.4246 | -4.6 | 45.7123
11379 | 910.4885 | -5.4 | 45.7762
11380 | 910.5846 | -6 | 45.8723
11381 | 910.6483 | -5.2 | 45.936
11382 | 910.7283 | -7 | 46.016
11383 | 910.8237 | 9 | 46.1114
11384 | 910.8883 | 13 | 46.176
11385 | 910.9837 | 1.4 | 46.2714
11386 | 911.0476 | -2 | 46.3353
11387 | 911.1433 | -3.6 | 46.431
11388 | 911.2228 | -3.6 | 46.5105
11389 | 911.2872 | -5 | 46.5749
11390 | 911.3828 | -7 | 46.6705
11391 | 911.4786 | -6.2 | 46.7663
11392 | 911.542 | -7.2 | 46.8297
11393 | 911.6383 | -7.6 | 46.926
11394 | 911.702 | -7.6 | 46.9897
11395 | 911.7977 | -7.4 | 47.0854
11396 | 911.8613 | -8 | 47.149
11397 | 911.9572 | -8 | 47.2449
11398 | 912.0207 | -19 | 47.3084
11399 | 912.1167 | -135 | 47.4044
11400 | 912.1805 | -38.8 | 47.4682
11401 | 912.2763 | -26.4 | 47.564
11402 | 912.3396 | -20.8 | 47.6273
11403 | 912.4354 | -17.8 | 47.7231
11404 | 912.4996 | -15.4 | 47.7873
11405 | 912.5953 | -15.2 | 47.883
11406 | 912.6591 | -13.4 | 47.9468
11407 | 912.7545 | -13 | 48.0422
11408 | 912.8187 | -13.2 | 48.1064
11409 | 912.9145 | -11.4 | 48.2022
11410 | 912.9778 | -12 | 48.2655
11411 | 913.0739 | -11.6 | 48.3616
11412 | 913.1377 | -11.2 | 48.4254
11413 | 913.233 | -19.6 | 48.5207
11414 | 913.2974 | -28.2 | 48.5851
11415 | 913.3932 | -16.2 | 48.6809
11416 | 913.4563 | -14 | 48.744
11417 | 913.5521 | -13.4 | 48.8398
11418 | 913.6163 | -12.4 | 48.904
11419 | 913.712 | -11 | 48.9997
11420 | 913.7754 | -10.8 | 49.0631
11421 | 913.8711 | -10.4 | 49.1588
11422 | 913.9353 | -11 | 49.223
11423 | 914.0305 | -10.2 | 49.3182
11424 | 914.0945 | -10 | 49.3822
11425 | 914.1905 | -10 | 49.4782
11426 | 914.254 | -10 | 49.5417
11427 | 914.3496 | -10.4 | 49.6373
11428 | 914.4138 | -10 | 49.7015
11429 | 914.5096 | 42.4 | 49.7973
11430 | 914.5734 | 10.2 | 49.8611
11431 | 914.6691 | 2 | 49.9568
11432 | 914.7327 | 0 | 50.0204
11433 | 914.8286 | -2.2 | 50.1163
11434 | 914.892 | -3.8 | 50.1797
11435 | 914.9878 | -4.6 | 50.2755
11436 | 915.0522 | -5.2 | 50.3399
11437 | 915.1476 | -4 | 50.4353
11438 | 915.2115 | -5.6 | 50.4992
11439 | 915.3072 | -5.2 | 50.5949
11440 | 915.3706 | -5.2 | 50.6583
11441 | 915.4503 | -5.4 | 50.738
11442 | 915.5464 | -6.4 | 50.8341
11443 | 915.6102 | -6.8 | 50.8979
11444 | 915.7056 | 64 | 50.9933
11445 | 915.7696 | 152.2 | 51.0573
11446 | 915.8655 | 37.4 | 51.1532
11447 | 915.9293 | 18.2 | 51.217
11448 | 916.0093 | 8.6 | 51.297
11449 | 916.1044 | 3.6 | 51.3921
11450 | 916.169 | -0.2 | 51.4567
11451 | 916.2638 | -3.2 | 51.5515
11452 | 916.3281 | -3.8 | 51.6158
11453 | 916.4078 | -5 | 51.6955
11454 | 916.4872 | -5.4 | 51.7749
11455 | 916.5675 | -6.4 | 51.8552
11456 | 916.6786 | -6.6 | 51.9663
11457 | 916.7588 | -8.2 | 52.0465
11458 | 916.8382 | -7.4 | 52.1259
11459 | 916.9185 | 24.8 | 52.2062
11460 | 916.9981 | 8.8 | 52.2858
11461 | 917.0938 | -0.4 | 52.3815
11462 | 917.1416 | -3.2 | 52.4293
11463 | 917.2376 | -5.4 | 52.5253
11464 | 917.3326 | -6.4 | 52.6203
11465 | 917.3806 | -6 | 52.6683
11466 | 917.4762 | -7.4 | 52.7639
11467 | 917.5723 | -8.2 | 52.86
11468 | 917.6202 | -7.6 | 52.9079
11469 | 917.7159 | -8.8 | 53.0036
11470 | 917.8113 | -9.4 | 53.099
11471 | 917.8591 | -9.8 | 53.1468
11472 | 917.955 | -8.2 | 53.2427
11473 | 918.0505 | -7.8 | 53.3382
11474 | 918.0983 | -81.6 | 53.386
11475 | 918.1942 | -71.6 | 53.4819
11476 | 918.2902 | -33 | 53.5779
11477 | 918.338 | -25.4 | 53.6257
11478 | 918.4335 | -20 | 53.7212
11479 | 918.5294 | -18.4 | 53.8171
11480 | 918.5771 | -16.8 | 53.8648
11481 | 918.6727 | -14.6 | 53.9604
11482 | 918.7684 | -14.2 | 54.0561
11483 | 918.8162 | -13.4 | 54.1039
11484 | 918.912 | -13.4 | 54.1997
11485 | 919.0077 | -12.2 | 54.2954
11486 | 919.0558 | -11.8 | 54.3435
11487 | 919.1514 | -11.4 | 54.4391
11488 | 919.2471 | -11.6 | 54.5348
11489 | 919.2948 | -33.4 | 54.5825
11490 | 919.3909 | -25 | 54.6786
11491 | 919.4864 | -16.4 | 54.7741
11492 | 919.5341 | -14.6 | 54.8218
11493 | 919.6298 | -12.6 | 54.9175
11494 | 919.694 | -12.8 | 54.9817
11495 | 919.7898 | -12.2 | 55.0775
11496 | 919.8535 | -11.6 | 55.1412
11497 | 919.9492 | -10.6 | 55.2369
11498 | 920.013 | -11 | 55.3007
11499 | 920.1088 | -10.6 | 55.3965
11500 | 920.1726 | -11.2 | 55.4603
11501 | 920.2679 | -11 | 55.5556
11502 | 920.3317 | -10.2 | 55.6194
11503 | 920.4119 | -9.2 | 55.6996
11504 | 920.5076 | -5.4 | 55.7953
11505 | 920.5715 | 41.6 | 55.8592
11506 | 920.6668 | 7.2 | 55.9545
11507 | 920.7312 | 1.2 | 56.0189
11508 | 920.8266 | -2 | 56.1143
11509 | 920.8904 | -3.2 | 56.1781
11510 | 920.9705 | -3 | 56.2582
11511 | 921.066 | -3.4 | 56.3537
11512 | 921.13 | -5 | 56.4177
11513 | 921.2095 | -4.2 | 56.4972
11514 | 921.2892 | -5.6 | 56.5769
11515 | 921.3685 | -5.4 | 56.6562
11516 | 921.4488 | -5.4 | 56.7365
11517 | 921.5445 | -5.4 | 56.8322
11518 | 921.6402 | -5.8 | 56.9279
11519 | 921.6883 | -5.6 | 56.976
11520 | 921.7834 | 139.8 | 57.0711
11521 | 921.879 | 92.2 | 57.1667
11522 | 921.975 | 29.4 | 57.2627
11523 | 922.0226 | 17.4 | 57.3103
11524 | 922.1187 | 9.8 | 57.4064
11525 | 922.214 | 3.6 | 57.5017
11526 | 922.2618 | 1.2 | 57.5495
11527 | 922.3579 | -0.2 | 57.6456
11528 | 922.4536 | -2.6 | 57.7413
11529 | 922.5014 | -3.6 | 57.7891
11530 | 922.5968 | -5.4 | 57.8845
11531 | 922.6925 | -5.8 | 57.9802
11532 | 922.7244 | -6.2 | 58.0121
11533 | 922.8203 | -6.2 | 58.108
11534 | 922.884 | -6.2 | 58.1717
11535 | 922.9796 | 31.2 | 58.2673
11536 | 923.0438 | 3.4 | 58.3315
11537 | 923.1391 | -1.6 | 58.4268
11538 | 923.2029 | -2.2 | 58.4906
11539 | 923.2987 | -4.2 | 58.5864
11540 | 923.3628 | -5.6 | 58.6505
11541 | 923.4581 | -6.6 | 58.7458
11542 | 923.522 | -6.4 | 58.8097
11543 | 923.6177 | -6.6 | 58.9054
11544 | 923.6814 | -7 | 58.9691
11545 | 923.7775 | -8 | 59.0652
11546 | 923.8413 | -8.2 | 59.129
11547 | 923.937 | -7.8 | 59.2247
11548 | 924.0005 | -7.4 | 59.2882
11549 | 924.0968 | -8.4 | 59.3845
11550 | 924.1603 | -131.4 | 59.448
11551 | 924.256 | -54.4 | 59.5437
11552 | 924.32 | -29.6 | 59.6077
11553 | 924.415 | -23.4 | 59.7027
11554 | 924.4796 | -19.4 | 59.7673
11555 | 924.575 | -16.6 | 59.8627
11556 | 924.671 | -15.8 | 59.9587
11557 | 924.7341 | -13.6 | 60.0218
11558 | 924.8298 | -13.6 | 60.1175
11559 | 924.8936 | -11.8 | 60.1813
11560 | 924.9893 | -12.6 | 60.277
11561 | 925.0691 | -11.6 | 60.3568
11562 | 925.1488 | -12.2 | 60.4365
11563 | 925.2286 | -11 | 60.5163
11564 | 925.3245 | -10 | 60.6122
11565 | 925.3722 | -40.4 | 60.6599
11566 | 925.4679 | -19.6 | 60.7556
11567 | 925.5642 | -15.6 | 60.8519
11568 | 925.6114 | -14 | 60.8991
11569 | 925.7074 | -11.6 | 60.9951
11570 | 925.8028 | -11.6 | 61.0905
11571 | 925.8506 | -11.8 | 61.1383
11572 | 925.9466 | -10.6 | 61.2343
11573 | 926.0425 | -10.6 | 61.3302
11574 | 926.0901 | -9.8 | 61.3778
11575 | 926.1859 | -10.8 | 61.4736
11576 | 926.2813 | -11.2 | 61.569
11577 | 926.3295 | -9.2 | 61.6172
11578 | 926.4255 | -9.4 | 61.7132
11579 | 926.5209 | -10.4 | 61.8086
11580 | 926.5685 | 16.4 | 61.8562
11581 | 926.6641 | 21.4 | 61.9518
11582 | 926.7602 | 4.4 | 62.0479
11583 | 926.8078 | 0.6 | 62.0955
11584 | 926.9036 | -1.4 | 62.1913
11585 | 926.9994 | -3.2 | 62.2871
11586 | 927.0472 | -4.6 | 62.3349
11587 | 927.1429 | -3.8 | 62.4306
11588 | 927.2384 | -4.4 | 62.5261
11589 | 927.3343 | -5.2 | 62.622
11590 | 927.3822 | -5 | 62.6699
11591 | 927.4777 | -6 | 62.7654
11592 | 927.5735 | -5.4 | 62.8612
11593 | 927.6211 | -5.4 | 62.9088
11594 | 927.7168 | -5.4 | 63.0045
11595 | 927.8126 | 2.2 | 63.1003
11596 | 927.8604 | 194 | 63.1481
11597 | 927.9561 | 57 | 63.2438
11598 | 928.0517 | 26 | 63.3394
11599 | 928.0995 | 14 | 63.3872
11600 | 928.1633 | 7.2 | 63.451
11601 | 928.2591 | 3.2 | 63.5468
11602 | 928.3388 | -0.4 | 63.6265
11603 | 928.4345 | 0 | 63.7222
11604 | 928.5141 | -2 | 63.8018
11605 | 928.578 | -4.2 | 63.8657
11606 | 928.642 | -4.8 | 63.9297
11607 | 928.7379 | -6 | 64.0256
11608 | 928.8015 | -7.2 | 64.0892
11609 | 928.8978 | -7.4 | 64.1855
11610 | 928.9608 | -13.8 | 64.2485
11611 | 929.0569 | -192.6 | 64.3446
11612 | 929.1209 | -47.2 | 64.4086
11613 | 929.216 | -30.2 | 64.5037
11614 | 929.2798 | -23.8 | 64.5675
11615 | 929.3759 | -20 | 64.6636
11616 | 929.4393 | -17.4 | 64.727
11617 | 929.5353 | -15.8 | 64.823
11618 | 929.5989 | -13.6 | 64.8866
11619 | 929.6946 | -12.2 | 64.9823
11620 | 929.7583 | -12 | 65.046
11621 | 929.854 | -12.6 | 65.1417
11622 | 929.9178 | -11.8 | 65.2055
11623 | 930.0136 | -11.4 | 65.3013
11624 | 930.0933 | -11.2 | 65.381
11625 | 930.1892 | -10.4 | 65.4769
11626 | 930.285 | -10.2 | 65.5727
11627 | 930.3325 | -9.8 | 65.6202
11628 | 930.4282 | -9.4 | 65.7159
11629 | 930.5243 | -9.8 | 65.812
11630 | 930.5722 | -9.2 | 65.8599
11631 | 930.6676 | -10.2 | 65.9553
11632 | 930.7638 | -10.6 | 66.0515
11633 | 930.8114 | -10.2 | 66.0991
11634 | 930.9071 | -9.8 | 66.1948
11635 | 931.0027 | -8.2 | 66.2904
11636 | 931.0503 | -8.8 | 66.338
11637 | 931.1463 | -8.8 | 66.434
11638 | 931.2421 | -10 | 66.5298
11639 | 931.2899 | -8.8 | 66.5776
11640 | 931.3859 | -9.2 | 66.6736
11641 | 931.4813 | -9.4 | 66.769
11642 | 931.5292 | -9.2 | 66.8169
11643 | 931.6245 | -9.2 | 66.9122
11644 | 931.7208 | -8.6 | 67.0085
11645 | 931.769 | -7.8 | 67.0567
11646 | 931.8643 | -10.2 | 67.152
11647 | 931.9604 | -7.8 | 67.2481
11648 | 932.009 | -9.2 | 67.2967
11649 | 932.1043 | -9.4 | 67.392
11650 | 932.2005 | -8.8 | 67.4882
11651 | 932.2484 | -9 | 67.5361
11652 | 932.3444 | -8.6 | 67.6321
11653 | 932.4405 | -8.2 | 67.7282
11654 | 932.4889 | -9.4 | 67.7766
11655 | 932.5844 | -8 | 67.8721
11656 | 932.6805 | -9 | 67.9682
11657 | 932.7287 | -9.4 | 68.0164
11658 | 932.8245 | -9.8 | 68.1122
11659 | 932.9209 | -9.2 | 68.2086
11660 | 932.9687 | -9.2 | 68.2564
11661 | 933.0646 | -9.2 | 68.3523
11662 | 933.161 | -9 | 68.4487
11663 | 933.2086 | -7.6 | 68.4963
11664 | 933.3048 | -8.6 | 68.5925
11665 | 933.401 | -9.2 | 68.6887
11666 | 933.449 | -8.6 | 68.7367
11667 | 933.545 | -8.8 | 68.8327
11668 | 933.6407 | -8.6 | 68.9284
11669 | 933.7367 | -7.4 | 69.0244
11670 | 933.7849 | -8.4 | 69.0726
11671 | 933.8807 | -9.2 | 69.1684
11672 | 933.9767 | -8.6 | 69.2644
11673 | 934.0087 | -7.8 | 69.2964
11674 | 934.1047 | -8.2 | 69.3924
11675 | 934.1687 | -8 | 69.4564
11676 | 934.2648 | -8 | 69.5525
11677 | 934.3288 | -7.4 | 69.6165
11678 | 934.4248 | -8 | 69.7125
11679 | 934.4888 | -8.4 | 69.7765
11680 | 934.5849 | -9.4 | 69.8726
11681 | 934.6648 | -8.4 | 69.9525
11682 | 934.745 | -8.8 | 70.0327
11683 | 934.8249 | -8 | 70.1126
11684 | 934.9055 | -8.4 | 70.1932
11685 | 934.9853 | -7.6 | 70.273
11686 | 935.0654 | -7.4 | 70.3531
11687 | 935.1614 | -8.6 | 70.4491