## in
Viewer version | 2.91
Measure start time | Monday, March 24, 2025 2:08:59 PM
Type of measurement | Flow [Linearized]
Sampling interval [ms] | 80
Timing information | Relative
Article code | SLI-2000
Serial Number | 215100075
COM HW Type | RS485/USB Sensor Cable
COM HW Config | Config String: COM4, 115200, ECHOOFF
Sensor Cable Version | 1.8
I2C Address | 64
Scale Factor | 5
Resolution (bit) | 16
Calibration Field | 0
Sample # | Relative Time[s] | Flow [ul/min]
3848 | 307.9464 | -12.4 | 0 | 26.4748
3849 | 308.0262 | -12.8 | 0.0798 | 13.8864
3850 | 308.122 | -13.6 | 0.1756 | 16.6703
3851 | 308.2023 | -10.8 | 0.2559 | 19.0105
3852 | 308.2662 | -12.6 | 0.3198
3853 | 308.3616 | -12.6 | 0.4152
3854 | 308.4255 | -13 | 0.4791
3855 | 308.5223 | -13 | 0.5759
3856 | 308.5852 | -12.4 | 0.6388
3857 | 308.681 | -11.8 | 0.7346
3858 | 308.7454 | -12.2 | 0.799
3859 | 308.8408 | -12.8 | 0.8944
3860 | 308.9371 | -13.6 | 0.9907
3861 | 309.0006 | -12.6 | 1.0542
3862 | 309.0968 | -12.2 | 1.1504
3863 | 309.1604 | -11.6 | 1.214
3864 | 309.2561 | -12.8 | 1.3097
3865 | 309.3201 | -11.8 | 1.3737
3866 | 309.4162 | -11.2 | 1.4698
3867 | 309.4801 | -13.2 | 1.5337
3868 | 309.5756 | -12 | 1.6292
3869 | 309.6399 | -10.6 | 1.6935
3870 | 309.7197 | -12.6 | 1.7733
3871 | 309.8159 | -12 | 1.8695
3872 | 309.8952 | -13 | 1.9488
3873 | 309.9749 | -11.4 | 2.0285
3874 | 310.0548 | -12.2 | 2.1084
3875 | 310.1346 | -12.6 | 2.1882
3876 | 310.2305 | -11.6 | 2.2841
3877 | 310.2786 | -12 | 2.3322
3878 | 310.3744 | -12.2 | 2.428
3879 | 310.47 | -11.6 | 2.5236
3880 | 310.565 | -12 | 2.6186
3881 | 310.6128 | -11.8 | 2.6664
3882 | 310.7083 | -10.6 | 2.7619
3883 | 310.8039 | -12.2 | 2.8575
3884 | 310.8356 | -12.2 | 2.8892
3885 | 310.9312 | -12 | 2.9848
3886 | 311.0272 | -12.2 | 3.0808
3887 | 311.1223 | -11.2 | 3.1759
3888 | 311.1705 | -11.6 | 3.2241
3889 | 311.2655 | -12 | 3.3191
3890 | 311.3611 | -12.6 | 3.4147
3891 | 311.4089 | -12.4 | 3.4625
3892 | 311.5044 | -11.8 | 3.558
3893 | 311.568 | -11.6 | 3.6216
3894 | 311.6318 | -12 | 3.6854
3895 | 311.7279 | -12 | 3.7815
3896 | 311.791 | -10.8 | 3.8446
3897 | 311.8869 | -12 | 3.9405
3898 | 311.9502 | -11.4 | 4.0038
3899 | 312.0457 | -11.8 | 4.0993
3900 | 312.1095 | -10.8 | 4.1631
3901 | 312.2049 | -12.6 | 4.2585
3902 | 312.2686 | -12.2 | 4.3222
3903 | 312.3641 | -11.4 | 4.4177
3904 | 312.4598 | -12.2 | 4.5134
3905 | 312.5556 | -11.8 | 4.6092
3906 | 312.603 | -11.2 | 4.6566
3907 | 312.6984 | -11.6 | 4.752
3908 | 312.7944 | 41.6 | 4.848
3909 | 312.8419 | 9.4 | 4.8955
3910 | 312.9375 | 0.6 | 4.9911
3911 | 313.0332 | 149.6 | 5.0868
3912 | 313.0807 | 108.8 | 5.1343
3913 | 313.1766 | 51.2 | 5.2302
3914 | 313.2724 | 28.8 | 5.326
3915 | 313.3199 | 12.6 | 5.3735
3916 | 313.4154 | -134.6 | 5.469
3917 | 313.5106 | -40.6 | 5.5642
3918 | 313.5587 | -37.2 | 5.6123
3919 | 313.6546 | -30.8 | 5.7082
3920 | 313.7495 | -20 | 5.8031
3921 | 313.7973 | 14.6 | 5.8509
3922 | 313.893 | 17.2 | 5.9466
3923 | 313.9884 | 0 | 6.042
3924 | 314.0367 | 59.4 | 6.0903
3925 | 314.1316 | 171.6 | 6.1852
3926 | 314.2276 | 43 | 6.2812
3927 | 314.2748 | 48.4 | 6.3284
3928 | 314.3544 | 17.6 | 6.408
3929 | 314.45 | -38.4 | 6.5036
3930 | 314.5455 | -86 | 6.5991
3931 | 314.5932 | -29.8 | 6.6468
3932 | 314.689 | -47 | 6.7426
3933 | 314.7524 | -25.4 | 6.806
3934 | 314.8161 | -19 | 6.8697
3935 | 314.9116 | 45.2 | 6.9652
3936 | 314.9753 | 2 | 7.0289
3937 | 315.0713 | 3 | 7.1249
3938 | 315.1664 | 190.6 | 7.22
3939 | 315.2301 | 64.4 | 7.2837
3940 | 315.3257 | 51.2 | 7.3793
3941 | 315.3893 | 22.4 | 7.4429
3942 | 315.4853 | 4.8 | 7.5389
3943 | 315.5485 | -142 | 7.6021
3944 | 315.6446 | -38.8 | 7.6982
3945 | 315.7077 | -46.4 | 7.7613
3946 | 315.8033 | -31.6 | 7.8569
3947 | 315.8674 | -24 | 7.921
3948 | 315.9625 | 34.4 | 8.0161
3949 | 316.0264 | 7 | 8.08
3950 | 316.1224 | -3.8 | 8.176
3951 | 316.1854 | 139.8 | 8.239
3952 | 316.2814 | 107.8 | 8.335
3953 | 316.3447 | 46.8 | 8.3983
3954 | 316.4403 | 26.4 | 8.4939
3955 | 316.5039 | 8 | 8.5575
3956 | 316.5994 | -134.6 | 8.653
3957 | 316.6631 | -52 | 8.7167
3958 | 316.7591 | -43.2 | 8.8127
3959 | 316.8225 | -39 | 8.8761
3960 | 316.9184 | -28.8 | 8.972
3961 | 316.9819 | 6.8 | 9.0355
3962 | 317.077 | 11.8 | 9.1306
3963 | 317.1408 | -6 | 9.1944
3964 | 317.2367 | 58.4 | 9.2903
3965 | 317.3004 | 158.4 | 9.354
3966 | 317.38 | 35.4 | 9.4336
3967 | 317.4756 | 38.8 | 9.5292
3968 | 317.5389 | 8.4 | 9.5925
3969 | 317.6347 | -70.8 | 9.6883
3970 | 317.7139 | -82.6 | 9.7675
3971 | 317.778 | -38.6 | 9.8316
3972 | 317.8579 | -55.8 | 9.9115
3973 | 317.9369 | -35.6 | 9.9905
3974 | 318.0169 | -26.4 | 10.0705
3975 | 318.0965 | 32.6 | 10.1501
3976 | 318.1757 | -6.2 | 10.2293
3977 | 318.2719 | 2.4 | 10.3255
3978 | 318.3357 | 192 | 10.3893
3979 | 318.4149 | 46.2 | 10.4685
3980 | 318.5101 | 40.8 | 10.5637
3981 | 318.5742 | 12.4 | 10.6278
3982 | 318.6694 | -5.2 | 10.723
3983 | 318.7337 | -151.8 | 10.7873
3984 | 318.8289 | -46 | 10.8825
3985 | 318.8923 | -54.4 | 10.9459
3986 | 318.9877 | -37.6 | 11.0413
3987 | 319.0514 | -30.8 | 11.105
3988 | 319.1469 | 27.4 | 11.2005
3989 | 319.2106 | -0.2 | 11.2642
3990 | 319.3221 | -10.4 | 11.3757
3991 | 319.4176 | 124.4 | 11.4712
3992 | 319.4655 | 108.8 | 11.5191
3993 | 319.5616 | 43.2 | 11.6152
3994 | 319.6569 | 22 | 11.7105
3995 | 319.7047 | 4.2 | 11.7583
3996 | 319.7998 | -136.8 | 11.8534
3997 | 319.8957 | -60.6 | 11.9493
3998 | 319.9434 | -47.6 | 11.997
3999 | 320.0386 | -44.4 | 12.0922
4000 | 320.1342 | -34.4 | 12.1878
4001 | 320.1819 | 1.4 | 12.2355
4002 | 320.2775 | 8.4 | 12.3311
4003 | 320.3735 | -9.6 | 12.4271
4004 | 320.4221 | 49.2 | 12.4757
4005 | 320.5182 | 161.6 | 12.5718
4006 | 320.6137 | 34.6 | 12.6673
4007 | 320.6614 | 38 | 12.715
4008 | 320.7577 | 9.6 | 12.8113
4009 | 320.8537 | -70.2 | 12.9073
4010 | 320.9015 | -82.2 | 12.9551
4011 | 320.9978 | -38 | 13.0514
4012 | 321.094 | -56.4 | 13.1476
4013 | 321.1413 | -34.2 | 13.1949
4014 | 321.2375 | -26.6 | 13.2911
4015 | 321.3336 | 34.4 | 13.3872
4016 | 321.3816 | -6.6 | 13.4352
4017 | 321.4778 | -1.2 | 13.5314
4018 | 321.5735 | 191.4 | 13.6271
4019 | 321.6213 | 51 | 13.6749
4020 | 321.7175 | 44 | 13.7711
4021 | 321.8135 | 15.2 | 13.8671
4022 | 321.8611 | -2.2 | 13.9147
4023 | 321.9572 | -152.8 | 14.0108
4024 | 322.0538 | -45.6 | 14.1074
4025 | 322.1491 | -54.8 | 14.2027
4026 | 322.1971 | -38.6 | 14.2507
4027 | 322.2931 | -31.6 | 14.3467
4028 | 322.389 | 24.6 | 14.4426
4029 | 322.437 | 2.8 | 14.4906
4030 | 322.533 | -10.8 | 14.5866
4031 | 322.629 | 121 | 14.6826
4032 | 322.6769 | 111.4 | 14.7305
4033 | 322.7569 | -17.2 | 14.8105
4034 | 322.8209 | -141.2 | 14.8745
4035 | 322.9169 | -41.8 | 14.9705
4036 | 322.9809 | -33.4 | 15.0345
4037 | 323.0771 | -28.6 | 15.1307
4038 | 323.1409 | -26.6 | 15.1945
4039 | 323.2368 | -25.6 | 15.2904
4040 | 323.3008 | -24 | 15.3544
4041 | 323.3968 | -24 | 15.4504
4042 | 323.4608 | -22.8 | 15.5144
4043 | 323.5567 | -22.6 | 15.6103
4044 | 323.6207 | -22.4 | 15.6743
4045 | 323.7167 | -22.6 | 15.7703
4046 | 323.7809 | -22.6 | 15.8345
4047 | 323.8771 | -22.4 | 15.9307
4048 | 323.9571 | -20.8 | 16.0107
4049 | 324.037 | -21 | 16.0906
4050 | 324.117 | -21.6 | 16.1706
4051 | 324.1966 | -21.2 | 16.2502
4052 | 324.2765 | -20 | 16.3301
4053 | 324.3565 | -20 | 16.4101
4054 | 324.4525 | -19.6 | 16.5061
4055 | 324.5485 | -19.6 | 16.6021
4056 | 324.5965 | -18.8 | 16.6501
4057 | 324.6925 | -18.6 | 16.7461
4058 | 324.7885 | -18.2 | 16.8421
4059 | 324.8368 | -19.2 | 16.8904
4060 | 324.9324 | -19.2 | 16.986
4061 | 325.0284 | -18.8 | 17.082
4062 | 325.0603 | -18.4 | 17.1139
4063 | 325.1564 | -18 | 17.21
4064 | 325.2205 | -17.2 | 17.2741
4065 | 325.3163 | -16.8 | 17.3699
4066 | 325.3803 | -18.2 | 17.4339
4067 | 325.4763 | -18.4 | 17.5299
4068 | 325.5405 | -17.2 | 17.5941
4069 | 325.6368 | -17.4 | 17.6904
4070 | 325.7163 | -16.8 | 17.7699
4071 | 325.8123 | -16.8 | 17.8659
4072 | 325.8767 | -16.2 | 17.9303
4073 | 325.9567 | -16.6 | 18.0103
4074 | 326.0366 | -15.8 | 18.0902
4075 | 326.1168 | -17.6 | 18.1704
4076 | 326.1966 | -16.6 | 18.2502
4077 | 326.2765 | -16.2 | 18.3301
4078 | 326.3566 | -15.8 | 18.4102
4079 | 326.4369 | -16.6 | 18.4905
4080 | 326.5166 | -16.6 | 18.5702
4081 | 326.5961 | -15.2 | 18.6497
4082 | 326.6761 | -15.6 | 18.7297
4083 | 326.7568 | -16.4 | 18.8104