## in
Viewer version | 2.91
Measure start time | Monday, March 24, 2025 2:08:59 PM
Type of measurement | Flow [Linearized]
Sampling interval [ms] | 80
Timing information | Relative
Article code | SLI-2000
Serial Number | 215100075
COM HW Type | RS485/USB Sensor Cable
COM HW Config | Config String: COM4, 115200, ECHOOFF
Sensor Cable Version | 1.8
I2C Address | 64
Scale Factor | 5
Resolution (bit) | 16
Calibration Field | 0
Sample # | Relative Time[s] | Flow [ul/min]
4636 | 371.0589 | -13 | 0 | 23.2011
4637 | 371.0908 | -13.8 | 0.0319 | 18.7642
4638 | 371.1705 | -12 | 0.1116 | 28.4382
4639 | 371.2663 | -12.8 | 0.2074 | 23.4678
4640 | 371.3619 | -12.8 | 0.303
4641 | 371.4102 | -13 | 0.3513
4642 | 371.5058 | -12.4 | 0.4469
4643 | 371.6012 | -11.8 | 0.5423
4644 | 371.6491 | -12 | 0.5902
4645 | 371.7448 | -12.8 | 0.6859
4646 | 371.8405 | -12.8 | 0.7816
4647 | 371.8889 | -13 | 0.83
4648 | 371.9681 | -11.8 | 0.9092
4649 | 372.0319 | -13.8 | 0.973
4650 | 372.1277 | -13.2 | 1.0688
4651 | 372.1915 | -12 | 1.1326
4652 | 372.2871 | -11.2 | 1.2282
4653 | 372.3509 | -12.8 | 1.292
4654 | 372.4471 | -12.4 | 1.3882
4655 | 372.5109 | -12.8 | 1.452
4656 | 372.6062 | -11.4 | 1.5473
4657 | 372.6701 | -12 | 1.6112
4658 | 372.7657 | -12.6 | 1.7068
4659 | 372.8299 | -13 | 1.771
4660 | 372.9258 | -11.6 | 1.8669
4661 | 372.9892 | -13.6 | 1.9303
4662 | 373.0847 | -12.8 | 2.0258
4663 | 373.1813 | -12.6 | 2.1224
4664 | 373.2443 | -12.8 | 2.1854
4665 | 373.3401 | -12 | 2.2812
4666 | 373.4038 | -13 | 2.3449
4667 | 373.5005 | -11.8 | 2.4416
4668 | 373.5633 | -13.6 | 2.5044
4669 | 373.6271 | -11.6 | 2.5682
4670 | 373.7228 | -13 | 2.6639
4671 | 373.8188 | -12.2 | 2.7599
4672 | 373.8824 | -13 | 2.8235
4673 | 373.9785 | -12 | 2.9196
4674 | 374.0424 | -12.2 | 2.9835
4675 | 374.1381 | -12 | 3.0792
4676 | 374.2015 | -12.2 | 3.1426
4677 | 374.2975 | -11.4 | 3.2386
4678 | 374.3614 | -12.8 | 3.3025
4679 | 374.4567 | -12.2 | 3.3978
4680 | 374.5205 | -12.4 | 3.4616
4681 | 374.6162 | -11.6 | 3.5573
4682 | 374.6805 | -11.4 | 3.6216
4683 | 374.7757 | -12.4 | 3.7168
4684 | 374.8714 | -12.2 | 3.8125
4685 | 374.9673 | -11.8 | 3.9084
4686 | 375.0156 | -13.4 | 3.9567
4687 | 375.1107 | -12 | 4.0518
4688 | 375.2064 | -11.2 | 4.1475
4689 | 375.2543 | -12.6 | 4.1954
4690 | 375.35 | -11.8 | 4.2911
4691 | 375.4461 | -8.8 | 4.3872
4692 | 375.494 | 45.2 | 4.4351
4693 | 375.5899 | 6.6 | 4.531
4694 | 375.6854 | -1.2 | 4.6265
4695 | 375.7333 | 0.4 | 4.6744
4696 | 375.829 | 179 | 4.7701
4697 | 375.9247 | 77.2 | 4.8658
4698 | 375.9729 | 27.8 | 4.914
4699 | 376.0682 | 33.2 | 5.0093
4700 | 376.1635 | 25 | 5.1046
4701 | 376.2114 | 11.2 | 5.1525
4702 | 376.3072 | 4.4 | 5.2483
4703 | 376.4036 | -104.2 | 5.3447
4704 | 376.4511 | -62 | 5.3922
4705 | 376.5466 | -29.2 | 5.4877
4706 | 376.6424 | -20.6 | 5.5835
4707 | 376.69 | -46 | 5.6311
4708 | 376.7858 | -24.2 | 5.7269
4709 | 376.8655 | -20.2 | 5.8066
4710 | 376.9293 | -17.2 | 5.8704
4711 | 376.9931 | 36 | 5.9342
4712 | 377.0888 | 12.2 | 6.0299
4713 | 377.1526 | -1.4 | 6.0937
4714 | 377.2483 | -4.6 | 6.1894
4715 | 377.3122 | 68 | 6.2533
4716 | 377.3919 | 171.2 | 6.333
4717 | 377.4876 | 40 | 6.4287
4718 | 377.5514 | 19 | 6.4925
4719 | 377.6472 | 42.6 | 6.5883
4720 | 377.727 | 12.8 | 6.6681
4721 | 377.8068 | 4.6 | 6.7479
4722 | 377.8865 | -2.2 | 6.8276
4723 | 377.9666 | -152.2 | 6.9077
4724 | 378.0621 | -41.8 | 7.0032
4725 | 378.1417 | -28.4 | 7.0828
4726 | 378.2216 | -34.4 | 7.1627
4727 | 378.3016 | -34.6 | 7.2427
4728 | 378.3971 | -24.6 | 7.3382
4729 | 378.4771 | -20 | 7.4182
4730 | 378.5246 | -12.6 | 7.4657
4731 | 378.6207 | 37.6 | 7.5618
4732 | 378.716 | 2.4 | 7.6571
4733 | 378.7642 | -3.6 | 7.7053
4734 | 378.8596 | -1.4 | 7.8007
4735 | 378.9553 | 191.2 | 7.8964
4736 | 379.0038 | 65.2 | 7.9449
4737 | 379.0989 | 23 | 8.04
4738 | 379.1949 | 26.8 | 8.136
4739 | 379.2428 | 21.2 | 8.1839
4740 | 379.3385 | 6.8 | 8.2796
4741 | 379.434 | -0.6 | 8.3751
4742 | 379.4824 | -73.8 | 8.4235
4743 | 379.5775 | -81.2 | 8.5186
4744 | 379.6732 | -36.6 | 8.6143
4745 | 379.721 | -26.6 | 8.6621
4746 | 379.8167 | -48 | 8.7578
4747 | 379.9124 | -29 | 8.8535
4748 | 379.9607 | -24 | 8.9018
4749 | 380.056 | -20.6 | 8.9971
4750 | 380.1197 | 31.2 | 9.0608
4751 | 380.1836 | 8.8 | 9.1247
4752 | 380.2798 | -4 | 9.2209
4753 | 380.3433 | -7 | 9.2844
4754 | 380.4548 | 55.2 | 9.3959
4755 | 380.5187 | 168.8 | 9.4598
4756 | 380.5825 | 37.2 | 9.5236
4757 | 380.6784 | 15 | 9.6195
4758 | 380.7746 | 39.4 | 9.7157
4759 | 380.8701 | 10 | 9.8112
4760 | 380.9188 | 2.8 | 9.8599
4761 | 381.0143 | -2.8 | 9.9554
4762 | 381.1098 | -154 | 10.0509
4763 | 381.1578 | -46.6 | 10.0989
4764 | 381.2535 | -30.4 | 10.1946
4765 | 381.3495 | -35 | 10.2906
4766 | 381.3973 | -37.8 | 10.3384
4767 | 381.4935 | -26 | 10.4346
4768 | 381.5896 | -23 | 10.5307
4769 | 381.6369 | -16.2 | 10.578
4770 | 381.7332 | 37.4 | 10.6743
4771 | 381.8286 | 1.2 | 10.7697
4772 | 381.9244 | -5.6 | 10.8655
4773 | 381.9723 | -4.8 | 10.9134
4774 | 382.0689 | 180.8 | 11.01
4775 | 382.164 | 69.8 | 11.1051
4776 | 382.2119 | 24.6 | 11.153
4777 | 382.3082 | 23.4 | 11.2493
4778 | 382.4036 | 23.2 | 11.3447
4779 | 382.452 | 6.4 | 11.3931
4780 | 382.5475 | -1.8 | 11.4886
4781 | 382.6436 | -83.4 | 11.5847
4782 | 382.6912 | -81 | 11.6323
4783 | 382.7872 | -38 | 11.7283
4784 | 382.8831 | -31.8 | 11.8242
4785 | 382.9309 | -52.2 | 11.872
4786 | 383.0273 | -32.8 | 11.9684
4787 | 383.1229 | -27.2 | 12.064
4788 | 383.1705 | -24 | 12.1116
4789 | 383.2663 | 27.4 | 12.2074
4790 | 383.3625 | 8.6 | 12.3036
4791 | 383.4105 | -6.6 | 12.3516
4792 | 383.5059 | -10.6 | 12.447
4793 | 383.6021 | 45.8 | 12.5432
4794 | 383.6499 | 170.2 | 12.591
4795 | 383.746 | 34.4 | 12.6871
4796 | 383.8418 | 12.6 | 12.7829
4797 | 383.8899 | 35.6 | 12.831
4798 | 383.9851 | 8 | 12.9262
4799 | 384.081 | 0.8 | 13.0221
4800 | 384.1293 | -5.8 | 13.0704
4801 | 384.2248 | -158 | 13.1659
4802 | 384.3206 | -51 | 13.2617
4803 | 384.3686 | -33.4 | 13.3097
4804 | 384.4645 | -37.2 | 13.4056
4805 | 384.5602 | -41.6 | 13.5013
4806 | 384.6086 | -28.2 | 13.5497
4807 | 384.704 | -26.4 | 13.6451
4808 | 384.7998 | -20 | 13.7409
4809 | 384.8479 | 36.8 | 13.789
4810 | 384.9438 | -2.6 | 13.8849
4811 | 385.0398 | -9.4 | 13.9809
4812 | 385.0875 | -9.8 | 14.0286
4813 | 385.1832 | 174.4 | 14.1243
4814 | 385.279 | 68.4 | 14.2201
4815 | 385.3277 | 18.8 | 14.2688
4816 | 385.4229 | 20.2 | 14.364
4817 | 385.5187 | 16.2 | 14.4598
4818 | 385.5667 | 1.8 | 14.5078
4819 | 385.6624 | -5.6 | 14.6035
4820 | 385.7583 | -74.6 | 14.6994
4821 | 385.8069 | -90.6 | 14.748
4822 | 385.9024 | -42.2 | 14.8435
4823 | 385.9982 | -32.6 | 14.9393
4824 | 386.0462 | -53 | 14.9873
4825 | 386.142 | -35.8 | 15.0831
4826 | 386.2376 | -28.8 | 15.1787
4827 | 386.2858 | -27.2 | 15.2269
4828 | 386.3813 | 22.4 | 15.3224
4829 | 386.4454 | 7 | 15.3865
4830 | 386.5256 | -7.4 | 15.4667
4831 | 386.589 | -9.8 | 15.5301
4832 | 386.6853 | 42 | 15.6264
4833 | 386.7487 | 175.4 | 15.6898
4834 | 386.8446 | 37.6 | 15.7857
4835 | 386.9085 | 17.2 | 15.8496
4836 | 387.0047 | 37.8 | 15.9458
4837 | 387.0682 | 12 | 16.0093
4838 | 387.1641 | 4 | 16.1052
4839 | 387.2284 | -0.2 | 16.1695
4840 | 387.3242 | -148 | 16.2653
4841 | 387.3877 | -49.2 | 16.3288
4842 | 387.4835 | -32 | 16.4246
4843 | 387.5798 | -30.2 | 16.5209
4844 | 387.6437 | -40.8 | 16.5848
4845 | 387.7395 | -27 | 16.6806
4846 | 387.8035 | -23.8 | 16.7446
4847 | 387.8995 | -18.8 | 16.8406
4848 | 387.9632 | 43.2 | 16.9043
4849 | 388.059 | 3.6 | 17.0001
4850 | 388.1229 | -3.4 | 17.064
4851 | 388.2183 | -5.6 | 17.1594
4852 | 388.283 | 165.6 | 17.2241
4853 | 388.3785 | 90.2 | 17.3196
4854 | 388.4424 | 30.8 | 17.3835
4855 | 388.5383 | 25.4 | 17.4794
4856 | 388.6018 | 31 | 17.5429
4857 | 388.682 | 14 | 17.6231
4858 | 388.7619 | 7.8 | 17.703
4859 | 388.8415 | -34.4 | 17.7826
4860 | 388.9216 | -98.2 | 17.8627
4861 | 389.0014 | -34 | 17.9425
4862 | 389.0973 | -24 | 18.0384
4863 | 389.1928 | -43.2 | 18.1339
4864 | 389.2413 | -30.2 | 18.1824
4865 | 389.3371 | -22.8 | 18.2782
4866 | 389.4331 | -20.8 | 18.3742
4867 | 389.5285 | 20.4 | 18.4696
4868 | 389.5763 | 16.2 | 18.5174
4869 | 389.6721 | -0.6 | 18.6132
4870 | 389.7679 | -4 | 18.709
4871 | 389.8158 | 36.4 | 18.7569
4872 | 389.9116 | 198 | 18.8527
4873 | 390.0075 | 51.6 | 18.9486
4874 | 390.0555 | 27.4 | 18.9966
4875 | 390.1517 | -133.2 | 19.0928
4876 | 390.2475 | -67.8 | 19.1886
4877 | 390.2956 | -31.6 | 19.2367
4878 | 390.3912 | -23.4 | 19.3323
4879 | 390.4868 | -20.8 | 19.4279
4880 | 390.5347 | -19 | 19.4758
4881 | 390.6304 | -17.2 | 19.5715
4882 | 390.7102 | -16 | 19.6513
4883 | 390.7741 | -16.4 | 19.7152
4884 | 390.838 | -15.4 | 19.7791
4885 | 390.9342 | -15 | 19.8753
4886 | 390.9977 | -14.8 | 19.9388
4887 | 391.0935 | -14.6 | 20.0346
4888 | 391.1577 | -15.4 | 20.0988
4889 | 391.2532 | -16.4 | 20.1943
4890 | 391.333 | -15.8 | 20.2741
4891 | 391.4129 | -15.4 | 20.354
4892 | 391.5094 | -15.2 | 20.4505
4893 | 391.6045 | -14.8 | 20.5456
4894 | 391.6531 | -14.6 | 20.5942
4895 | 391.7485 | -15.2 | 20.6896
4896 | 391.8439 | -15.4 | 20.785
4897 | 391.8919 | -15 | 20.833
4898 | 391.9876 | -15.8 | 20.9287
4899 | 392.0838 | -14.8 | 21.0249
4900 | 392.1318 | -15.4 | 21.0729
4901 | 392.2271 | -15.4 | 21.1682
4902 | 392.323 | -14.6 | 21.2641
4903 | 392.3709 | -14.6 | 21.312
4904 | 392.4666 | -15.4 | 21.4077
4905 | 392.5628 | -15.6 | 21.5039
4906 | 392.6106 | -15.4 | 21.5517
4907 | 392.7066 | -16 | 21.6477
4908 | 392.802 | -14.4 | 21.7431
4909 | 392.8503 | -14.2 | 21.7914
4910 | 392.9462 | -16 | 21.8873
4911 | 393.0422 | -15 | 21.9833
4912 | 393.0898 | -14.6 | 22.0309
4913 | 393.1856 | -14.6 | 22.1267
4914 | 393.281 | -14.2 | 22.2221
4915 | 393.3295 | -14.2 | 22.2706
4916 | 393.4252 | -15.4 | 22.3663
4917 | 393.5208 | -14.2 | 22.4619
4918 | 393.5688 | -15.2 | 22.5099
4919 | 393.6649 | -14.6 | 22.606
4920 | 393.7601 | -15 | 22.7012
4921 | 393.808 | -15 | 22.7491
4922 | 393.8878 | -14.8 | 22.8289
4923 | 393.9516 | -15.2 | 22.8927
4924 | 394.0474 | -14.6 | 22.9885
4925 | 394.1113 | -15.6 | 23.0524
4926 | 394.2071 | -15.2 | 23.1482
4927 | 394.3029 | -16 | 23.244
4928 | 394.3668 | -15.2 | 23.3079
4929 | 394.4627 | -14.2 | 23.4038
4930 | 394.5265 | -14.4 | 23.4676
4931 | 394.6223 | -15 | 23.5634
4932 | 394.7021 | -14.6 | 23.6432
4933 | 394.7819 | -15 | 23.723
4934 | 394.8463 | -15.2 | 23.7874
4935 | 394.9256 | -15.2 | 23.8667
4936 | 395.0055 | -15.2 | 23.9466
4937 | 395.0854 | -15.6 | 24.0265
4938 | 395.1656 | -14.4 | 24.1067
4939 | 395.245 | -13.6 | 24.1861
4940 | 395.3251 | -14.6 | 24.2662
4941 | 395.4047 | -13 | 24.3458
4942 | 395.4849 | -14 | 24.426
4943 | 395.5805 | -13.8 | 24.5216
4944 | 395.6765 | -14.2 | 24.6176
4945 | 395.7241 | -13.6 | 24.6652
4946 | 395.8043 | -13.6 | 24.7454
4947 | 395.8837 | -13.6 | 24.8248
4948 | 395.9639 | -13.8 | 24.905
4949 | 396.06 | -14 | 25.0011
4950 | 396.1392 | -14.4 | 25.0803
4951 | 396.2349 | -14.2 | 25.176
4952 | 396.2828 | -14.6 | 25.2239
4953 | 396.3786 | -14.4 | 25.3197
4954 | 396.4744 | -14.2 | 25.4155
4955 | 396.5223 | -13.6 | 25.4634
4956 | 396.6186 | -13.2 | 25.5597
4957 | 396.7139 | -13.6 | 25.655
4958 | 396.7618 | -14 | 25.7029
4959 | 396.8581 | -15.2 | 25.7992