## in
Viewer version | 2.91
Measure start time | Monday, March 24, 2025 2:08:59 PM
Type of measurement | Flow [Linearized]
Sampling interval [ms] | 80
Timing information | Relative
Article code | SLI-2000
Serial Number | 215100075
COM HW Type | RS485/USB Sensor Cable
COM HW Config | Config String: COM4, 115200, ECHOOFF
Sensor Cable Version | 1.8
I2C Address | 64
Scale Factor | 5
Resolution (bit) | 16
Calibration Field | 0
Sample # | Relative Time[s] | Flow [ul/min]
5960 | 476.9132 | -10.8 | 0 | 39.032 | 8.5123 | 1 | 0 | 1
5961 | 477.025 | -10.6 | 0.1118 | 34.425 | 8.5757 | 210.2 | 0.0634 | 210.2
5962 | 477.1047 | -9.8 | 0.1915 | 37.5607 | 8.656 | 64.8 | 0.1437 | 64.8
5963 | 477.1845 | -10.4 | 0.2713 | 37.0059 | 8.7359 | 30 | 0.2236 | 30
5964 | 477.2642 | -11.2 | 0.351 |  | 8.8158 | 17.8 | 0.3035 | 17.8
5965 | 477.3448 | -10.2 | 0.4316 |  | 8.8952 | 10.6 | 0.3829 | 10.6
5966 | 477.4398 | -12 | 0.5266 |  | 8.9752 | 7 | 0.4629 | 7
5967 | 477.4876 | -10.8 | 0.5744 |  | 9.0555 | 1.8 | 0.5432 | 1.8
5968 | 477.5833 | -11 | 0.6701 |  | 9.1516 | 32.8 | 0.6393 | 32.8
5969 | 477.679 | -10.4 | 0.7658 |  | 9.2313 | 14.4 | 0.719 | 14.4
5970 | 477.7269 | -11.4 | 0.8137 |  | 9.3274 | 5.6 | 0.8151 | 5.6
5971 | 477.8227 | -11 | 0.9095 |  | 9.3748 | 3.4 | 0.8625 | 3.4
5972 | 477.9024 | -9.8 | 0.9892 |  | 9.4706 | 1 | 0.9583 | 1
5973 | 477.9662 | -11.8 | 1.053 |  | 9.5669 | -1.4 | 1.0546 | -1.4
5974 | 478.0301 | -11.2 | 1.1169 |  | 9.6145 | -2.8 | 1.1022 | -2.8
5975 | 478.1264 | -12.4 | 1.2132 |  | 9.7107 | -6.4 | 1.1984 | -6.4
5976 | 478.1897 | -10.4 | 1.2765 |  | 9.8069 | -154.8 | 1.2946 | -154.8
5977 | 478.2853 | -11 | 1.3721 |  | 9.8545 | -42.6 | 1.3422 | -42.6
5978 | 478.3492 | -10.2 | 1.436 |  | 9.9504 | -29 | 1.4381 | -29
5979 | 478.4449 | -11.2 | 1.5317 |  | 10.0462 | -23.2 | 1.5339 | -23.2
5980 | 478.5407 | -11.4 | 1.6275 |  | 10.0938 | -18.6 | 1.5815 | -18.6
5981 | 478.6045 | -11.4 | 1.6913 |  | 10.1898 | -16.8 | 1.6775 | -16.8
5982 | 478.7002 | -10.6 | 1.787 |  | 10.2856 | -16 | 1.7733 | -16
5983 | 478.7799 | -11 | 1.8667 |  | 10.3337 | -35.4 | 1.8214 | -35.4
5984 | 478.8601 | -10.8 | 1.9469 |  | 10.4295 | -26 | 1.9172 | -26
5985 | 478.9395 | -11.2 | 2.0263 |  | 10.5257 | -19.2 | 2.0134 | -19.2
5986 | 479.0193 | -9.8 | 2.1061 |  | 10.574 | -17.6 | 2.0617 | -17.6
5987 | 479.0991 | -11 | 2.1859 |  | 10.6695 | -16.8 | 2.1572 | -16.8
5988 | 479.1952 | -11 | 2.282 |  | 10.7654 | -15.2 | 2.2531 | -15.2
5989 | 479.2433 | -11.2 | 2.3301 |  | 10.8131 | -14.2 | 2.3008 | -14.2
5990 | 479.3391 | -10.6 | 2.4259 |  | 10.9089 | -14.6 | 2.3966 | -14.6
5991 | 479.4346 | -9.6 | 2.5214 |  | 11.0052 | 35.6 | 2.4929 | 35.6
5992 | 479.4821 | -10.4 | 2.5689 |  | 11.1006 | 15.6 | 2.5883 | 15.6
5993 | 479.5781 | -11.2 | 2.6649 |  | 11.1486 | 1.2 | 2.6363 | 1.2
5994 | 479.6734 | -10.4 | 2.7602 |  | 11.2445 | -3 | 2.7322 | -3
5995 | 479.7214 | -10.8 | 2.8082 |  | 11.2925 | -5.2 | 2.7802 | -5.2
5996 | 479.8171 | -11.6 | 2.9039 |  | 11.3887 | -6 | 2.8764 | -6
5997 | 479.9128 | -11 | 2.9996 |  | 11.4846 | -6 | 2.9723 | -6
5998 | 479.9447 | -10.6 | 3.0315 |  | 11.5329 | -6.6 | 3.0206 | -6.6
5999 | 480.0404 | -11 | 3.1272 |  | 11.6284 | 147.4 | 3.1161 | 147.4
6000 | 480.1361 | -12 | 3.2229 |  | 11.7246 | 107.2 | 3.2123 | 107.2
6001 | 480.2 | -10.6 | 3.2868 |  | 11.8202 | 36 | 3.3079 | 36
6002 | 480.2961 | -11.4 | 3.3829 |  | 11.8679 | 19.8 | 3.3556 | 19.8
6003 | 480.36 | -11.6 | 3.4468 |  | 11.964 | 10.8 | 3.4517 | 10.8
6004 | 480.4557 | -12 | 3.5425 |  | 12.0599 | 6.8 | 3.5476 | 6.8
6005 | 480.5193 | -11.2 | 3.6061 |  | 12.1078 | 2.8 | 3.5955 | 2.8
6006 | 480.6152 | -11.4 | 3.702 |  | 12.2034 | 24.8 | 3.6911 | 24.8
6007 | 480.6791 | -11.2 | 3.7659 |  | 12.2996 | 16.6 | 3.7873 | 16.6
6008 | 480.759 | -11 | 3.8458 |  | 12.3475 | 6.4 | 3.8352 | 6.4
6009 | 480.8552 | -11.2 | 3.942 |  | 12.4434 | 3.4 | 3.9311 | 3.4
6010 | 480.9183 | -11 | 4.0051 |  | 12.5393 | 0.4 | 4.027 | 0.4
6011 | 481.0147 | -11.4 | 4.1015 |  | 12.5875 | -1.2 | 4.0752 | -1.2
6012 | 481.0782 | -11.4 | 4.165 |  | 12.6831 | -2 | 4.1708 | -2
6013 | 481.1746 | -11.4 | 4.2614 |  | 12.7786 | -4 | 4.2663 | -4
6014 | 481.254 | -11.8 | 4.3408 |  | 12.8266 | -140.4 | 4.3143 | -140.4
6015 | 481.3179 | -12 | 4.4047 |  | 12.9227 | -56 | 4.4104 | -56
6016 | 481.4138 | -12.2 | 4.5006 |  | 13.0216 | -30 | 4.5093 | -30
6017 | 481.4781 | -12.4 | 4.5649 |  | 13.0665 | -24.2 | 4.5542 | -24.2
6018 | 481.5743 | -13.2 | 4.6611 |  | 13.1623 | -20.8 | 4.65 | -20.8
6019 | 481.6375 | -12.2 | 4.7243 |  | 13.2582 | -17.6 | 4.7459 | -17.6
6020 | 481.7333 | 1.4 | 4.8201 |  | 13.3064 | -17 | 4.7941 | -17
6021 | 481.7972 | 27.8 | 4.884 |  | 13.4025 | -28 | 4.8902 | -28
6022 | 481.8939 | 3 | 4.9807 |  | 13.4979 | -31.2 | 4.9856 | -31.2
6023 | 481.9573 | -1.8 | 5.0441 |  | 13.5461 | -22 | 5.0338 | -22
6024 | 482.0534 | -4.4 | 5.1402 |  | 13.642 | -17.8 | 5.1297 | -17.8
6025 | 482.117 | -4.6 | 5.2038 |  | 13.7382 | -16.6 | 5.2259 | -16.6
6026 | 482.2135 | -6.2 | 5.3003 |  | 13.7858 | -15.2 | 5.2735 | -15.2
6027 | 482.2768 | -7 | 5.3636 |  | 13.8813 | -15.6 | 5.369 | -15.6
6028 | 482.373 | 37.2 | 5.4598 |  | 13.9776 | -15.4 | 5.4653 | -15.4
6029 | 482.437 | 193.2 | 5.5238 |  | 14.0255 | 14 | 5.5132 | 14
6030 | 482.5324 | 52.8 | 5.6192 |  | 14.1215 | 21 | 5.6092 | 21
6031 | 482.5964 | 25.8 | 5.6832 |  | 14.2171 | 2.6 | 5.7048 | 2.6
6032 | 482.6926 | 16.8 | 5.7794 |  | 14.2648 | -2 | 5.7525 | -2
6033 | 482.7565 | 9.6 | 5.8433 |  | 14.3608 | -4 | 5.8485 | -4
6034 | 482.8521 | 5.6 | 5.9389 |  | 14.4564 | -4.8 | 5.9441 | -4.8
6035 | 482.9164 | 4.6 | 6.0032 |  | 14.5042 | -6.8 | 5.9919 | -6.8
6036 | 482.9963 | 36.4 | 6.0831 |  | 14.6001 | -7.2 | 6.0878 | -7.2
6037 | 483.0921 | 11.4 | 6.1789 |  | 14.6959 | 71.2 | 6.1836 | 71.2
6038 | 483.1561 | 6 | 6.2429 |  | 14.7439 | 164 | 6.2316 | 164
6039 | 483.2518 | 2.4 | 6.3386 |  | 14.8401 | 41.2 | 6.3278 | 41.2
6040 | 483.3319 | 0.6 | 6.4187 |  | 14.9356 | 23.6 | 6.4233 | 23.6
6041 | 483.3954 | -0.8 | 6.4822 |  | 14.9835 | 13.4 | 6.4712 | 13.4
6042 | 483.4917 | -1.6 | 6.5785 |  | 15.0797 | 8.4 | 6.5674 | 8.4
6043 | 483.5556 | -38.2 | 6.6424 |  | 15.1758 | 3.4 | 6.6635 | 3.4
6044 | 483.6519 | -105.4 | 6.7387 |  | 15.223 | 7 | 6.7107 | 7
6045 | 483.715 | -36.6 | 6.8018 |  | 15.3192 | 30.6 | 6.8069 | 30.6
6046 | 483.8113 | -25.6 | 6.8981 |  | 15.4151 | 8.8 | 6.9028 | 8.8
6047 | 483.8912 | -21.6 | 6.978 |  | 15.4632 | 2.8 | 6.9509 | 2.8
6048 | 483.9551 | -18.2 | 7.0419 |  | 15.5585 | 0.8 | 7.0462 | 0.8
6049 | 484.0514 | -16.4 | 7.1382 |  | 15.6546 | 0 | 7.1423 | 0
6050 | 484.1152 | -14.4 | 7.202 |  | 15.7024 | -1.6 | 7.1901 | -1.6
6051 | 484.2108 | -42.4 | 7.2976 |  | 15.7982 | -2.8 | 7.2859 | -2.8
6052 | 484.2747 | -21.8 | 7.3615 |  | 15.8943 | -73.2 | 7.382 | -73.2
6053 | 484.3706 | -18.2 | 7.4574 |  | 15.9425 | -80.4 | 7.4302 | -80.4
6054 | 484.4505 | -15.8 | 7.5373 |  | 16.038 | -34.8 | 7.5257 | -34.8
6055 | 484.514 | -14.6 | 7.6008 |  | 16.1335 | -26.8 | 7.6212 | -26.8
6056 | 484.6103 | -14.2 | 7.6971 |  | 16.1814 | -22 | 7.6691 | -22
6057 | 484.6738 | -14 | 7.7606 |  | 16.2777 | -19.4 | 7.7654 | -19.4
6058 | 484.7703 | -12.2 | 7.8571 |  | 16.3731 | -18.8 | 7.8608 | -18.8
6059 | 484.866 | 46.4 | 7.9528 |  | 16.4214 | -17.4 | 7.9091 | -17.4
6060 | 484.9299 | 6.8 | 8.0167 |  | 16.5169 | -42.6 | 8.0046 | -42.6
6061 | 485.0094 | -0.8 | 8.0962 |  | 16.6128 | -23 | 8.1005 | -23
6062 | 485.1055 | -2.4 | 8.1923 |  | 16.6607 | -19.2 | 8.1484 | -19.2
6063 | 485.1699 | -4.4 | 8.2567 |  | 16.7565 | -17.6 | 8.2442 | -17.6
6064 | 485.2651 | -5.8 | 8.3519 |  | 16.8523 | -16.4 | 8.34 | -16.4
6065 | 485.3458 | -6.4 | 8.4326 |  | 16.9002 | -15.2 | 8.3879 | -15.2
6066 | 485.4255 | 1 | 8.5123 |  | 16.9961 | -14.8 | 8.4838 | -14.8
6067 | 485.4889 | 210.2 | 8.5757 |  | 17.0599 | -12.6 | 8.5476 | -12.6
6068 | 485.5692 | 64.8 | 8.656
6069 | 485.6491 | 30 | 8.7359
6070 | 485.729 | 17.8 | 8.8158
6071 | 485.8084 | 10.6 | 8.8952
6072 | 485.8884 | 7 | 8.9752
6073 | 485.9687 | 1.8 | 9.0555
6074 | 486.0648 | 32.8 | 9.1516
6075 | 486.1445 | 14.4 | 9.2313
6076 | 486.2406 | 5.6 | 9.3274
6077 | 486.288 | 3.4 | 9.3748
6078 | 486.3838 | 1 | 9.4706
6079 | 486.4801 | -1.4 | 9.5669
6080 | 486.5277 | -2.8 | 9.6145
6081 | 486.6239 | -6.4 | 9.7107
6082 | 486.7201 | -154.8 | 9.8069
6083 | 486.7677 | -42.6 | 9.8545
6084 | 486.8636 | -29 | 9.9504
6085 | 486.9594 | -23.2 | 10.0462
6086 | 487.007 | -18.6 | 10.0938
6087 | 487.103 | -16.8 | 10.1898
6088 | 487.1988 | -16 | 10.2856
6089 | 487.2469 | -35.4 | 10.3337
6090 | 487.3427 | -26 | 10.4295
6091 | 487.4389 | -19.2 | 10.5257
6092 | 487.4872 | -17.6 | 10.574
6093 | 487.5827 | -16.8 | 10.6695
6094 | 487.6786 | -15.2 | 10.7654
6095 | 487.7263 | -14.2 | 10.8131
6096 | 487.8221 | -14.6 | 10.9089
6097 | 487.9184 | 35.6 | 11.0052
6098 | 488.0138 | 15.6 | 11.1006
6099 | 488.0618 | 1.2 | 11.1486
6100 | 488.1577 | -3 | 11.2445
6101 | 488.2057 | -5.2 | 11.2925
6102 | 488.3019 | -6 | 11.3887
6103 | 488.3978 | -6 | 11.4846
6104 | 488.4461 | -6.6 | 11.5329
6105 | 488.5416 | 147.4 | 11.6284
6106 | 488.6378 | 107.2 | 11.7246
6107 | 488.7334 | 36 | 11.8202
6108 | 488.7811 | 19.8 | 11.8679
6109 | 488.8772 | 10.8 | 11.964
6110 | 488.9731 | 6.8 | 12.0599
6111 | 489.021 | 2.8 | 12.1078
6112 | 489.1166 | 24.8 | 12.2034
6113 | 489.2128 | 16.6 | 12.2996
6114 | 489.2607 | 6.4 | 12.3475
6115 | 489.3566 | 3.4 | 12.4434
6116 | 489.4525 | 0.4 | 12.5393
6117 | 489.5007 | -1.2 | 12.5875
6118 | 489.5963 | -2 | 12.6831
6119 | 489.6918 | -4 | 12.7786
6120 | 489.7398 | -140.4 | 12.8266
6121 | 489.8359 | -56 | 12.9227
6122 | 489.9348 | -30 | 13.0216
6123 | 489.9797 | -24.2 | 13.0665
6124 | 490.0755 | -20.8 | 13.1623
6125 | 490.1714 | -17.6 | 13.2582
6126 | 490.2196 | -17 | 13.3064
6127 | 490.3157 | -28 | 13.4025
6128 | 490.4111 | -31.2 | 13.4979
6129 | 490.4593 | -22 | 13.5461
6130 | 490.5552 | -17.8 | 13.642
6131 | 490.6514 | -16.6 | 13.7382
6132 | 490.699 | -15.2 | 13.7858
6133 | 490.7945 | -15.6 | 13.8813
6134 | 490.8908 | -15.4 | 13.9776
6135 | 490.9387 | 14 | 14.0255
6136 | 491.0347 | 21 | 14.1215
6137 | 491.1303 | 2.6 | 14.2171
6138 | 491.178 | -2 | 14.2648
6139 | 491.274 | -4 | 14.3608
6140 | 491.3696 | -4.8 | 14.4564
6141 | 491.4174 | -6.8 | 14.5042
6142 | 491.5133 | -7.2 | 14.6001
6143 | 491.6091 | 71.2 | 14.6959
6144 | 491.6571 | 164 | 14.7439
6145 | 491.7533 | 41.2 | 14.8401
6146 | 491.8488 | 23.6 | 14.9356
6147 | 491.8967 | 13.4 | 14.9835
6148 | 491.9929 | 8.4 | 15.0797
6149 | 492.089 | 3.4 | 15.1758
6150 | 492.1362 | 7 | 15.223
6151 | 492.2324 | 30.6 | 15.3192
6152 | 492.3283 | 8.8 | 15.4151
6153 | 492.3764 | 2.8 | 15.4632
6154 | 492.4717 | 0.8 | 15.5585
6155 | 492.5678 | 0 | 15.6546
6156 | 492.6156 | -1.6 | 15.7024
6157 | 492.7114 | -2.8 | 15.7982
6158 | 492.8075 | -73.2 | 15.8943
6159 | 492.8557 | -80.4 | 15.9425
6160 | 492.9512 | -34.8 | 16.038
6161 | 493.0467 | -26.8 | 16.1335
6162 | 493.0946 | -22 | 16.1814
6163 | 493.1909 | -19.4 | 16.2777
6164 | 493.2863 | -18.8 | 16.3731
6165 | 493.3346 | -17.4 | 16.4214
6166 | 493.4301 | -42.6 | 16.5169
6167 | 493.526 | -23 | 16.6128
6168 | 493.5739 | -19.2 | 16.6607
6169 | 493.6697 | -17.6 | 16.7565
6170 | 493.7655 | -16.4 | 16.8523
6171 | 493.8134 | -15.2 | 16.9002
6172 | 493.9093 | -14.8 | 16.9961
6173 | 493.9731 | -12.6 | 17.0599
6174 | 494.037 | 48.4 | 17.1238
6175 | 494.1335 | 5.2 | 17.2203
6176 | 494.2133 | -1.4 | 17.3001
6177 | 494.3086 | -3.8 | 17.3954
6178 | 494.4049 | -6.2 | 17.4917
6179 | 494.4523 | -7.4 | 17.5391
6180 | 494.5322 | -8.2 | 17.619
6181 | 494.6281 | -2 | 17.7149
6182 | 494.6919 | 201 | 17.7787
6183 | 494.788 | 65.8 | 17.8748
6184 | 494.8521 | 30.4 | 17.9389
6185 | 494.9475 | 16.6 | 18.0343
6186 | 495.0114 | 9.6 | 18.0982
6187 | 495.1077 | 6 | 18.1945
6188 | 495.1716 | 1.8 | 18.2584
6189 | 495.2677 | 31.6 | 18.3545
6190 | 495.3314 | 15.4 | 18.4182
6191 | 495.4271 | 6.2 | 18.5139
6192 | 495.4907 | 2.8 | 18.5775
6193 | 495.5866 | 0.6 | 18.6734
6194 | 495.6503 | 0.6 | 18.7371
6195 | 495.7462 | -0.4 | 18.833
6196 | 495.8104 | -3.2 | 18.8972
6197 | 495.9058 | -152.6 | 18.9926
6198 | 495.9698 | -43.4 | 19.0566
6199 | 496.0501 | -29 | 19.1369
6200 | 496.1459 | -22.8 | 19.2327
6201 | 496.2258 | -19.8 | 19.3126
6202 | 496.306 | -17 | 19.3928
6203 | 496.3852 | -17 | 19.472
6204 | 496.4491 | -37.6 | 19.5359
6205 | 496.5454 | -28 | 19.6322
6206 | 496.6092 | -20.8 | 19.696
6207 | 496.7048 | -18 | 19.7916
6208 | 496.7684 | -18 | 19.8552
6209 | 496.8648 | -16.2 | 19.9516
6210 | 496.9286 | -15.2 | 20.0154
6211 | 497.0244 | -14.8 | 20.1112
6212 | 497.088 | 34.4 | 20.1748
6213 | 497.1838 | 15.4 | 20.2706
6214 | 497.2484 | 1.8 | 20.3352
6215 | 497.3439 | -1.6 | 20.4307
6216 | 497.4078 | -4.6 | 20.4946
6217 | 497.5039 | -5 | 20.5907
6218 | 497.5671 | -5.6 | 20.6539
6219 | 497.6634 | -6.8 | 20.7502
6220 | 497.7268 | 131.8 | 20.8136
6221 | 497.8387 | 120.6 | 20.9255
6222 | 497.9025 | 37.6 | 20.9893
6223 | 497.9687 | 22.2 | 21.0555
6224 | 498.0782 | 14 | 21.165
6225 | 498.1586 | 7.2 | 21.2454
6226 | 498.2224 | 6 | 21.3092
6227 | 498.2859 | 21.2 | 21.3727
6228 | 498.3818 | 20 | 21.4686
6229 | 498.4642 | 8.4 | 21.551
6230 | 498.5261 | 4.4 | 21.6129
6231 | 498.6213 | 1.6 | 21.7081
6232 | 498.6852 | 1 | 21.772
6233 | 498.7811 | -0.4 | 21.8679
6234 | 498.8609 | -2.4 | 21.9477
6235 | 498.9248 | -133 | 22.0116
6236 | 499.0206 | -60.6 | 22.1074
6237 | 499.0845 | -32.6 | 22.1713
6238 | 499.1804 | -25.6 | 22.2672
6239 | 499.2602 | -21.8 | 22.347
6240 | 499.3245 | -18.8 | 22.4113
6241 | 499.42 | -17.2 | 22.5068
6242 | 499.4841 | -24.8 | 22.5709
6243 | 499.5799 | -31.8 | 22.6667
6244 | 499.6756 | -22.2 | 22.7624
6245 | 499.7717 | -19 | 22.8585
6246 | 499.8193 | -16.8 | 22.9061
6247 | 499.9151 | -17 | 23.0019
6248 | 500.0111 | -16.6 | 23.0979
6249 | 500.0589 | -16.2 | 23.1457
6250 | 500.1548 | 9.6 | 23.2416
6251 | 500.2507 | 22.8 | 23.3375
6252 | 500.299 | 2.8 | 23.3858
6253 | 500.395 | -2.2 | 23.4818
6254 | 500.4906 | -4.2 | 23.5774
6255 | 500.5381 | -5.4 | 23.6249
6256 | 500.634 | -7.4 | 23.7208
6257 | 500.6978 | -7.8 | 23.7846
6258 | 500.7617 | 62.6 | 23.8485
6259 | 500.8574 | 169.2 | 23.9442
6260 | 500.9532 | 41.6 | 24.04
6261 | 501.017 | 23 | 24.1038
6262 | 501.1128 | 15.4 | 24.1996
6263 | 501.1766 | 9.4 | 24.2634
6264 | 501.2727 | 4.8 | 24.3595
6265 | 501.3362 | 9.4 | 24.423
6266 | 501.4323 | 29.6 | 24.5191
6267 | 501.4962 | 10.4 | 24.583
6268 | 501.5915 | 5.6 | 24.6783
6269 | 501.6555 | 2.4 | 24.7423
6270 | 501.7514 | 0.2 | 24.8382
6271 | 501.8154 | -0.4 | 24.9022
6272 | 501.9111 | -0.8 | 24.9979
6273 | 501.9746 | -86.4 | 25.0614
6274 | 502.0702 | -73.4 | 25.157
6275 | 502.1341 | -34.4 | 25.2209
6276 | 502.2302 | -26.4 | 25.317
6277 | 502.294 | -22.8 | 25.3808
6278 | 502.3899 | -19.8 | 25.4767
6279 | 502.4532 | -17.8 | 25.54
6280 | 502.5494 | -18.6 | 25.6362
6281 | 502.6134 | -39 | 25.7002
6282 | 502.7089 | -23.4 | 25.7957
6283 | 502.7728 | -19.4 | 25.8596
6284 | 502.8684 | -18.6 | 25.9552
6285 | 502.9319 | -17.4 | 26.0187
6286 | 503.0278 | -16 | 26.1146
6287 | 503.0919 | -16.4 | 26.1787
6288 | 503.1877 | -9.6 | 26.2745
6289 | 503.2515 | 40.4 | 26.3383
6290 | 503.3473 | 4.4 | 26.4341
6291 | 503.4111 | -0.8 | 26.4979
6292 | 503.5068 | -4.2 | 26.5936
6293 | 503.5702 | -5.4 | 26.657
6294 | 503.6664 | -6.2 | 26.7532
6295 | 503.7303 | -6.4 | 26.8171
6296 | 503.8256 | 23.6 | 26.9124
6297 | 503.8894 | 201.6 | 26.9762
6298 | 503.9852 | 52.4 | 27.072
6299 | 504.049 | 27.2 | 27.1358
6300 | 504.1447 | 16 | 27.2315
6301 | 504.2086 | 10.2 | 27.2954
6302 | 504.3047 | 6.2 | 27.3915
6303 | 504.3682 | 4.6 | 27.455
6304 | 504.4645 | 38 | 27.5513
6305 | 504.5277 | 11.6 | 27.6145
6306 | 504.6239 | 6.4 | 27.7107
6307 | 504.6873 | 2.8 | 27.7741
6308 | 504.7835 | 1.8 | 27.8703
6309 | 504.8468 | 0.4 | 27.9336
6310 | 504.9426 | -0.4 | 28.0294
6311 | 505.0068 | -26.2 | 28.0936
6312 | 505.1021 | -119.4 | 28.1889
6313 | 505.166 | -38.8 | 28.2528
6314 | 505.2618 | -28.4 | 28.3486
6315 | 505.326 | -22.4 | 28.4128
6316 | 505.4214 | -19.2 | 28.5082
6317 | 505.4852 | -18.6 | 28.572
6318 | 505.5809 | -16.4 | 28.6677
6319 | 505.6452 | -43 | 28.732
6320 | 505.7409 | -24.2 | 28.8277
6321 | 505.8043 | -20 | 28.8911
6322 | 505.9001 | -17.6 | 28.9869
6323 | 505.9642 | -16.6 | 29.051
6324 | 506.0597 | -17.2 | 29.1465
6325 | 506.1236 | -15 | 29.2104
6326 | 506.2196 | -14 | 29.3064
6327 | 506.2831 | 46.6 | 29.3699
6328 | 506.3948 | 6.8 | 29.4816
6329 | 506.4906 | -0.6 | 29.5774
6330 | 506.5384 | -3.6 | 29.6252
6331 | 506.6342 | -4.6 | 29.721
6332 | 506.73 | -6.8 | 29.8168
6333 | 506.7778 | -7.2 | 29.8646
6334 | 506.8735 | -2.2 | 29.9603
6335 | 506.9696 | 205 | 30.0564
6336 | 507.0172 | 66 | 30.104
6337 | 507.1136 | 29.8 | 30.2004
6338 | 507.2086 | 18.4 | 30.2954
6339 | 507.2569 | 12.4 | 30.3437
6340 | 507.3526 | 9 | 30.4394
6341 | 507.448 | 4.6 | 30.5348
6342 | 507.4958 | 36.4 | 30.5826
6343 | 507.5923 | 16.4 | 30.6791
6344 | 507.6877 | 8.6 | 30.7745
6345 | 507.7352 | 4.4 | 30.822
6346 | 507.8313 | 2 | 30.9181
6347 | 507.9268 | 0 | 31.0136
6348 | 507.9752 | -2.4 | 31.062
6349 | 508.0713 | -7.6 | 31.1581
6350 | 508.1661 | -154.8 | 31.2529
6351 | 508.2144 | -43.6 | 31.3012
6352 | 508.31 | -29.6 | 31.3968
6353 | 508.4058 | -22.8 | 31.4926
6354 | 508.4537 | -20.2 | 31.5405
6355 | 508.5497 | -17.4 | 31.6365
6356 | 508.6453 | -17.8 | 31.7321
6357 | 508.693 | -38.8 | 31.7798
6358 | 508.7887 | -27.2 | 31.8755
6359 | 508.8841 | -20.8 | 31.9709
6360 | 508.932 | -19.2 | 32.0188
6361 | 509.0597 | -17.6 | 32.1465
6362 | 509.1082 | -17.4 | 32.195
6363 | 509.2034 | -14.6 | 32.2902
6364 | 509.2995 | -14.4 | 32.3863
6365 | 509.3473 | 38.6 | 32.4341
6366 | 509.4429 | 11.4 | 32.5297
6367 | 509.5383 | -0.6 | 32.6251
6368 | 509.5867 | -2 | 32.6735
6369 | 509.6824 | -4.4 | 32.7692
6370 | 509.7785 | -6.8 | 32.8653
6371 | 509.8258 | -7.6 | 32.9126
6372 | 509.9214 | -6.2 | 33.0082
6373 | 510.0171 | 158 | 33.1039
6374 | 510.0654 | 96.8 | 33.1522
6375 | 510.1614 | 33.6 | 33.2482
6376 | 510.2568 | 19.2 | 33.3436
6377 | 510.3047 | 11.4 | 33.3915
6378 | 510.4001 | 5.6 | 33.4869
6379 | 510.496 | 3.4 | 33.5828
6380 | 510.5438 | -46.6 | 33.6306
6381 | 510.6402 | -157.4 | 33.727
6382 | 510.7356 | -45.6 | 33.8224
6383 | 510.7833 | -32.2 | 33.8701
6384 | 510.8794 | -25.2 | 33.9662
6385 | 510.9751 | -21.8 | 34.0619
6386 | 511.0234 | -18.4 | 34.1102
6387 | 511.1187 | -17.8 | 34.2055
6388 | 511.2146 | -16.6 | 34.3014
6389 | 511.2629 | -16.8 | 34.3497
6390 | 511.3583 | -16.4 | 34.4451
6391 | 511.4538 | -15 | 34.5406
6392 | 511.5018 | -15 | 34.5886
6393 | 511.5976 | -14.6 | 34.6844
6394 | 511.6935 | -15.2 | 34.7803
6395 | 511.7413 | -15.8 | 34.8281
6396 | 511.8371 | -14.8 | 34.9239
6397 | 511.9333 | -14.6 | 35.0201
6398 | 511.981 | -14.4 | 35.0678
6399 | 512.0772 | -13.2 | 35.164
6400 | 512.1725 | -14.6 | 35.2593
6401 | 512.2205 | -14.4 | 35.3073
6402 | 512.3166 | -14.6 | 35.4034
6403 | 512.4121 | -13.8 | 35.4989
6404 | 512.4605 | -13.8 | 35.5473
6405 | 512.5558 | -14 | 35.6426
6406 | 512.6516 | -14.2 | 35.7384
6407 | 512.6996 | -13.4 | 35.7864
6408 | 512.7955 | -14.2 | 35.8823
6409 | 512.8915 | -13.6 | 35.9783
6410 | 512.9391 | -14 | 36.0259
6411 | 513.0348 | -13.6 | 36.1216
6412 | 513.1006 | -14.8 | 36.1874
6413 | 513.1626 | -14.2 | 36.2494
6414 | 513.2586 | -13.8 | 36.3454
6415 | 513.3224 | -13.4 | 36.4092
6416 | 513.4182 | -13.8 | 36.505
6417 | 513.482 | -13 | 36.5688
6418 | 513.5779 | -13.4 | 36.6647
6419 | 513.6737 | -13 | 36.7605
6420 | 513.7375 | -12.8 | 36.8243
6421 | 513.8334 | -12.8 | 36.9202
6422 | 513.9136 | -14 | 37.0004
6423 | 513.9932 | -13 | 37.08
6424 | 514.073 | -12.8 | 37.1598
6425 | 514.1687 | -12.4 | 37.2555
6426 | 514.2167 | -13.6 | 37.3035
6427 | 514.3127 | -14 | 37.3995
6428 | 514.409 | -13.6 | 37.4958